Virginia Beach Department of Public Health

Office of Environmental Health

4452 Corporation Lane

Virginia Beach, VA 23462

(757) 518-2700 FAX (757) 518-2642

# MOBILE Plan Review Packet Checklist

Required Documentation (rev 03/2023)

Submit pages 1-9 Keep pages 10-20

☐ Plan Review Application and $40.00 Plan Review Fee

☐ Plan Review Questionnaire

☐ Menu (include seasonal items, off-site, banquet, and sample catering menus)

☐ Mobile unit floor plan drawn to scale showing the location of the interior equipment, plumbing, electrical, and mechanical ventilation in the food preparation and storage areas.

☐ Manufacturer specification sheets (cut sheets) for all equipment, including water supply containers.

☐ Copy of Certified Food Protection Manager Certificate(s)

☐ Copy of Employee Health Policy, Allergen Awareness Policy, Bodily Fluid Clean Up Policy, and any special process to include Time used as a public health control.

I have submitted plans/applications to the following authorities on the following dates:

| Fire Marshal ____________ | Permits and Inspections _____________ |
| --- | --- |
| Zoning-Peddler’s License (if applicable) __ ____________ | Virginia ABC (if applicable) ___________ |

## REQUEST FOR MOBILE FOOD SERVICE PLAN REVIEW

Complete and attach the following REQUIRED items:  $40.00 fee, Plan Review Questionnaire, Copy of Menu, Equipment Specifications, signed Commissary Agreement, and Mobile Unit Floor Plan.

PLEASE ALLOW 45 DAYS FOR PLAN REVIEW APPROVAL.

TYPE OF OPERATION:

☐ Pushcart / Trailers (requires a restricted menu)		   ☐ Mobile

Establishment Name:  _________________________________________________________________________

Commissary Address: __________________________________________________________________________________

Establishment Phone: ___________________________ 	TAX ID or S.S.N: _____________________

Email Address: _______________________________________________________________________________

ADDRESS BELOW MUST BE DIFFERENT THAN COMMISSARY ADDRESS

▼ 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨▼ 󠆨 󠆨 󠆨 󠆨 󠆨     ▼ 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨▼ 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨 󠆨▼ 󠆨

Name of Owner or Corporation/LLC:  _________________________________________________________

Billing Address: _____________________________________________ 	Phone #:  _____________________

Name of Contact Person: ____________________________________ 	Phone #:  _____________________

Email Address: _______________________________________________________________________________

A SIGNED COMMISSARY AGREEMENT MUST BE SUBMITTED WITH THIS APPLICATION.

The commissary must be in good standing with the health department.

Name of Commissary:  ________________________________________________________________________

Address: ______________________________________________ Phone #:  _____________________

Type of Water/Sewage Supply:  󠆨󠆨Well Water (PWSID # _______________) 	󠆨City Water

󠆨Septic System 󠆨 	 	 	 	 	󠆨City Sewage

Commissary will provide: (check all apply)

| ⁭ Mobile Unit Storage (parking) |  | ⁭ Electrical Hookup |  | ⁭ Toilet and Handwashing Facilities |
| --- | --- | --- | --- | --- |
| ⁭ Potable Water Supply |  | ⁭ Grease Disposal |  | ⁭ Garbage Disposal (including grey water depo) |
| ⁭ Food Preparation Space |  | ⁭ Food Storage (dry foods and temperature-controlled food items) |  | ⁭ Ware washing Facilities (3-compartment sink or dish machine) |

I/we attest to the accuracy of the information provided, affirm to comply with the Regulations of the Health Department, and understand that after the requested Permit is issued, the Commissioner of Health or their authorized representative(s) shall have the right to enter.

the premises of this establishment at any reasonable time to inspect, conduct tests or collect samples as required/needed. I/we further agree to accept notices issued and served by the regulatory authority.   Please note that this office reserves the right to deny the application if not properly completed or if the facility does not comply with current food regulations. Food Regulations are available at http://www.vdh.virginia.gov/virginia-beach/environmental-health/ .

CONTENTS OF MOBILE PLANS AND SPECIFICATIONS MUST INCLUDE:

  - Provide plans that are a minimum of 11x14 inches in size including the layout of the floor plan accurately drawn to a minimum scale of ¼ inch = 1 foot.

  - Include the proposed menu and projected daily meal volume for food service operations.

  - Show the location of all food equipment.  Each piece of equipment must be clearly labeled on the plan with its common name.  Submit drawings of self-service hot and cold holding units (if used). Pictures may be submitted in addition to floor plans.

  - Clearly designate adequate hand washing sinks and three-compartment sinks.

  - Include and provide specifications for:

    - Entrances and exits.

    - Food equipment to include make and model numbers and a listing of equipment that is certified or classified for sanitation by an ANSI or NSF (as applicable).

    - Complete finish schedule includes floors, walls, ceilings, and cove juncture bases.

    - Plumbing to include hot water generating equipment with capacity and recovery rate, all sinks, backflow prevention devices, air gaps, fresh water and/or wastewater line connections, freshwater tank capacity, and wastewater tank size (must be 15% Larger).

    - Lighting schedule with protectors.

      - Inside equipment such as reach-in and under-counter refrigerators

      - At least 540 lux (50-foot candles) at a surface where a food employee is working with food or working with utensils or equipment such as knives, slicers, grinders, or saws where employee safety is a factor.

    - Source of water supply and method of sewage disposal.  Provide the location of these facilities and submit evidence that state and local regulations are complied with.

# Plan Review Questionnaire for Mobile Unit

To be completed by the food establishment operator.

Plans will not be reviewed until the questionnaire is fully completed and all required documents are submitted to the Virginia Beach Department of Public Health (VBDPH).

A meeting can be set up with a VBDPH Environmental Health Specialist (EHS) for assistance in completing the questionnaire. Please call (757)518-2700 opt 3 with any questions.

You can access the food regulations at http://www.vdh.virginia.gov/virginia-beach/environmental-health/

General Information:

1.  Projected opening date: ________________

    - Maximum number of meals to be Served: (ex. 10) Breakfast _____Lunch _____Dinner_____

    - Projected Date for Start of Project (if new facility): ________________________________

    - Projected Date for Completion of Project: ___________________________

2.  Who is/are the Certified Food Manager(s)?

Name ______________________________Certification No.___________ Expiration ____/____/_____

Name ______________________________Certification No.___________ Expiration ____/____/_____

Name ______________________________Certification No.___________ Expiration ____/____/_____

3.  What is the facility’s proposed smoking status: (check one)?

☐ Smoke Free 	 	☐ Smoking outside only

4.  Source of Potable Water:

☐ Public System 	 	☐ Private Well

  - If using a private well, a copy of the water test conducted must be submitted.

_________________________________________________________________________

5.  Commissary Sewage System:

☐ Public System 	 	☐ Private Septic System

  - If the system is private, please include a copy of septic and well records.

Food Source and Storage:

- Please list all food suppliers (including all vendors):

____________________________________________________________________________________

____________________________________________________________________________________

2.  What is the projected frequency of food purchases for:

    - Frozen Foods: ____________________

    - Refrigerated Foods: ___________________

    - Dry Goods: ___________________

- How will these goods be stored at the commissary? How will these goods be stored off the floor?_________________________________________________________________________ ______________________________________________________________________________

- What are your procedures when you find food items damaged, (i.e., moldy, discolored, foul smell) or expired? __________________________________________________________________________

____________________________________________________________________________________

- Are you utilizing raw foods of animal origin as an ingredient? (Example:  burger patties, poultry, seafood, etc.)  ☐ Yes ☐ No

- Will raw meats, poultry, and seafood be stored in the same refrigeration and freezers with cooked ready-to-eat foods?   ☐ Yes ☐ No

If so, how will you prevent cross-contamination? __________________________________________________________________________________

Preparation Review:

- Will this facility be using any food additives?

☐ Yes, if yes please list items________________________________________________

☐ No

- If yes, are all food additives approved by the FDA or Generally Recognized as Safe (GRAS)

☐ Yes ☐ No

Time/Temperature Control:

- If foods are prepared 4 hours (or more) in advance of service, please indicate methods for cooling after cooking or mixing ingredients. Must cool items from 135°F to 41°F within 6 hours (135°F to 70°F in 2 hours or less, then from 70°F down to 41°F i.e., soup, chili, roast meats, etc.). When mixing at room temperature, products must be cooled to 41°for no less than 4 hours (i.e., pasta salad, tuna salad, etc.)

*Please note specific food products and methods used to cool properly:

| Name of Food Product | Shallow Pans | Ice Bath | Reduce Volume/Size | Blast Chiller | Other (describe) |
| --- | --- | --- | --- | --- | --- |

2.  Please list all foods prepared more than 12 hours in advance of service.

_________________________________________________________________________________________

- Is there a planned location used for washing produce? 	☐ Yes ☐ No

Describe: ___________________________________________________________________________________

____________________________________________________________________________________________

- Describe the procedures used to minimize the length of time TCS foods will be kept in the danger zone (41°F-135°F) during preparation: ____________________________________________________________________________________

____________________________________________________________________________________

- Number and type of refrigeration units:

Upright Cooler__________ Under Counter__________ 	Sandwich Prep Unit__________

- Number and type of freezer units:

Upright Freezer__________ Chest__________

- Will ingredients for cold ready-to-eat foods such as tuna and egg salads and sandwiches be pre-chilled before being mixed and/or assembled? 	☐ Yes ☐ No

If not, how will ready-to-eat foods be assembled to ensure the proper cold-holding temperature?             ________________________________________

- Does each refrigerator have an ambient air thermometer? ☐ Yes ☐ No

- Thawing Time/Temperature Control for Safety Foods:

*Please indicate how you plan to thaw TCS foods by checking the appropriate boxes below:

| Approved Thawing Method | Thick Frozen Foods (> 1" | Thin Frozen Foods (< 1") |
| --- | --- | --- |
| Refrigeration (41°F or less) |  |  |
| Under cold running water (70°F or less) |  |  |
| Microwave (immediately cook after) |  |  |
| Cooked from the frozen state |  |  |

- Do you have a probe thermometer to monitor internal cooking and hot/cold holding temperatures? (Digital preferred) ☐ Yes ☐ No

- Will there be any outdoor cooking equipment used?   	☐ Yes ☐ No

If yes, you MUST obtain pre-approval. Please describe: ________________________

Ventilation:

- Are all areas properly vented and hood systems approved by the Fire Marshal? ☐ Yes ☐ No

- How is the ventilation hood system cleaned? How often and by whom? __________________________  ____________________________________________________________________________________

Employee Training:

1. How will employees be trained in food allergens and food sanitation practices? How often? Where are records kept?

____________________________________________________________________________________

## ____________________________________________________________________________________

- Is there documented allergy awareness training? 	☐ Yes ☐ No

- Is there a written policy to exclude or restrict food employees who are sick or have infected cuts, burns, and lesions?

☐ Yes, an attached written policy is REQUIRED

☐ No

Water Supply:

- Hot water heater capacity – how many gallons? ______________ gallons

- Fresh water tank gallons____ Grey water (15% larger than freshwater) gallons _________

- How are the backflow prevention devices inspected and serviced? (2210/2330) ________________

- Is this capacity enough to meet needs during peak usage? ☐ Yes    ☐ No

- Is there a water treatment device?  ☐ Yes   ☐ No

If yes, how will the device/filters be inspected & serviced? (2330) _________________________

Handwashing:

- Is there a hand washing sink with a mixing valve capable of 85°F minimum hot and cold running water in the prep area and service/dispensing area?  ☐ Yes   ☐ No

- Are hand drying provisions (paper towels, air blowers, etc.), hand cleansers, and waste receptacles available at all handwashing sinks? ☐ Yes   ☐ No

- Are handwashing signs posted at all hand sinks used by employees?  ☐ Yes   ☐ No

Plumbing:

- Are all plumbing connections maintained and in good repair?  ☐ Yes   ☐ No

- Are all plumbing connections, pipes & electrical conduit chases sealed?  ☐ Yes   ☐ No

- Are the ventilation system’s exhausts and intakes protected? ☐ Yes   ☐ No

Warewashing:

- Does the 3-compartment sink have a large enough capacity to accommodate your largest piece of equipment? ☐ Yes   ☐ No

If not, explain how the equipment will be washed/rinsed/sanitized at the commissary.

- How will non-food and food-contact surfaces, countertops, and other food-contact surfaces that cannot be submerged in sinks be sanitized?______________________________________________ ____________________________________________________________________________________

- What type of sanitizer is used for the 3-compartment sink?

☐ Chlorine 	☐ Quaternary Ammonium 	☐ Hot Water ☐ Iodine 	☐ Other: ________________ Concentration? ________________________

- Are the proper test kits available for checking sanitizer concentrations and temperature levels?

☐ Yes    ☐ No

- Are there BOTH self-draining CLEAN and DIRTY drain boards at the three-compartment sink?

☐ Yes   ☐ No

  - Are drainboards large enough to accommodate ALL soiled and cleaned items? ☐ Yes   ☐ No

  - Is there an area(s) designated for air drying? Explain: ___________________________________________________________________________

Facilities:

- Are light bulbs shatterproof or shielded?  ☐ Yes   ☐ No

- Are outer openings such as doors and windows: tight-fitting, self-closing, and supplied with the proper mesh screen that opens to the outside to keep out pests?  ☐ Yes   ☐ No

- Will air curtains be used?  ☐ Yes   ☐ No

- If yes, describe the location: __________________________________________________________________________________

- Are screen doors provided on all entrances left open to the outside (#16 mesh screen)?

☐ Yes   ☐ No

- Finish Schedule: Please indicate which materials (quarry tile, stainless steel, plastic molding, etc.) will be used in the following areas:

| Area | Floor | Walls | Ceiling | Coving |
| --- | --- | --- | --- | --- |
| Kitchen |  |  |  |  |

- Is there an area for employees to change and store personal items in the facility?

☐ Yes   ☐ No

Describe: ___________________________________________________________________________

- Describe where will employees eat/drink and take their breaks: ________________________________

___________________________________________________________________________________

- Describe the storage location for all toxic chemicals (this includes personal medication).  The toxic chemical must be stored away from food areas and clean equipment: __________________________________________________________________________________________________________________________________________________________________________

- SMALL EQUIPMENT REQUIREMENTS

Please specify the number, location, and types of each of the following:

  - slicers ________ b.  cutting boards ________c.  Mixers ________d.  floor mats ______e.  other ____

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

AS A CONDITION FOR RECEIPT OF THE PERMIT I AGREE TO:

- Read and be familiar with the laws, orders, rules and regulations, etc. governing the handling of food in the Virginia Beach Health District.

- Abide by the conditions of such laws, orders, rules, regulations, etc.

- Freely permit an authorized agent of the Virginia Department of Health to inspect the premises under my control and at such time to take samples there from as many be necessary.

- Immediately discontinue operations and notify the regulatory authority if an imminent health hazard may exist because of an emergency such as a fire, flood, extended interruption of electrical or water service, sewage backup, misuse of poisonous or toxic materials, the onset of an apparent foodborne illness outbreak, gross unsanitary occurrence or condition, or other circumstance that may endanger public health.

I FURTHER UNDERSTAND THAT:

- Health Department food establishment permits must be renewed annually with a permit fee that must be submitted 30 days before the existing permit expiration.

- Permits cannot be transferred from one operator to another or from one location to another.  The Health Department must be notified of any sale or change of ownership.

- Permits are subject to revocation for just cause.

- The Health Department must be notified when the applicant ceases to be responsible for the establishment.

- All food establishment employees in the Virginia Beach Health District are required by local ordinance to have a Certified Food Manager present at least 8 hours a day during operation.

- If any menu changes occur, your local Health Department must be notified.

- The Health Department must be notified of plans to expand or modify the establishment before making changes.

Approval of these plans and specifications by the Virginia Beach Department of Public Health does not indicate compliance with any other code, law or regulation that may be required- federal, state, or local. It further does not constitute endorsement or acceptance of the completed establishment (structure or equipment). A pre-opening inspection of the establishment with equipment in place & operational will be necessary to determine if it complies with the local and state laws governing food service establishments.

STATEMENT: I hereby certify that the above information is correct, and I fully understand that any deviation from the above without prior permission from the Virginia Beach Department of Public Health may nullify final approval.

Print Name(s): ___________________________________________________

Signature(s): _________________________________	Date: ___/___/_____

# FOOD ESTABLISHMENT FLOOR PLAN SAMPLE

Opening Inspection Checklist

☐ Food thermometer 0°F-220°F

☐ Ambient air thermometers in all refrigeration units

☐ All refrigeration units are operating at the correct temperature of 41°F or below for proper cold-holding

☐ Three-compartment sink dish detergent and sanitizer

☐ Applicable sanitizer test strips

☐ Chlorine test strips for chlorine-based sanitizer (i.e., unscented bleach)

☐ Quaternary test strips for multi-quat sanitizer (i.e., ammonium chloride)

☐ Thermolabels or a maximum registering holding thermometer for high heat sanitizing dish machine ☐ All hand sinks provided with:

☐ Hot water (at least 100°F)

☐ Soap

☐ Drying provisions

☐ Employees Must Wash Hands signage

☐ Certified Food Manager certificate available at the facility during inspection

☐ Employee illness reporting forms completed

☐ Employee allergen awareness information

☐ Lighting intensity required. 12VAC5-421-3080 lighting intensity

☐ Lighting at least 20ft candles in reach-in coolers and warewash area?

☐ Lighting at least 50ft candles where employee safety is a factor? (Slicers, knives, grinder)

☐ All doors and windows open to the outside are self-closing and vermin-proof (i.e., drive-thru window); screens are 16 mesh/inch

☐ Walls and ceilings in food prep and utensil washing areas are to be smooth, easily cleanable, and nonabsorbent materials

☐ “No Smoking” sign must be visible

☐ All food from an approved source

☐ Menu with correct consumer advisory, if applicable

VIRGINIA BEACH DEPARTMENT OF PUBLIC HEALTH

MOBILE FOOD ESTABLISHMENT CONSTRUCTION AND EQUIPMENT SPECIFICATIONS

The following are food establishment construction and equipment specifications as required by the Commonwealth of

Virginia Board of Health Food Regulations, 12 VAC 5-421, (REGULATIONS). If you have any questions regarding these requirements please contact the Virginia Beach Department of Public Health, Office of Environmental Health at

(757) 518-2646. The REGULATIONS are available at www.vdh.virginia.gov (Select VDH Programs, then Environmental Health Services, then Food and General Environmental Services) OR http://www.vdh.virginia.gov/virginiabeach/environmental-health/

## WATER, SEWAGE, AND GARBAGE

Sufficient water from an approved water supply must be provided to meet the needs of the food service establishment (2120, 2050).

All sewage must be disposed of by a public sewerage system or by a sewerage disposal system constructed and operated in accordance with applicable laws and regulations (2570).

Suitable facilities are to be provided for the cleaning of all garbage containers. Hot water and detergent or steam must be provided and used for washing containers. Liquid waste from compacting or cleaning operations must be disposed of in the approved sewerage disposal system. Disposal into storm drain systems is not approved (2570, 2670).

Garbage and refuse containers, dumpsters, and compactor systems located outside are to be located on a smooth surface of a non-absorbent material such as concrete or machine-laid asphalt. These surfaces must be graded to drain (2600).

## WALLS, FLOORS, AND CEILINGS

Ceilings of food preparation and storage areas, equipment washing and utensil washing areas, bar areas, toilet rooms, and vestibules are to have smooth, non-absorbent, and easily cleanable surfaces. If ceiling tiles or panels are called for, then smooth, vinyl-faced tiles must be utilized. Color choices other than white for bar and toilet rooms may be considered but must have prior approval (2790, 2830).

Studs, joints, and rafters cannot be exposed in areas subject to moisture (2880).

Walls in food preparation areas are to be smooth and easily cleanable. Acceptable materials include marlite, ceramic tile, or fiberglass-reinforced panels.  Drywall may be utilized if painted with moisture-proof, washable paint such as enamel or epoxy (2790, 2810).

Wall-mounted equipment such as sinks shall be sealed at the wall (1550).

Masonry block walls in food preparation areas are to be made smooth before painting. An application of keen cement to cover strike lines and imperfections is recommended. The finished wall must be cleanable (2810).

Floors in food preparation areas are to be smooth and easily cleanable. Acceptable materials include vinyl composition tiles or quarry tiles. Other materials may be considered but would need prior health department approval (2810). Floor-wall junctures are to be coved and sealed (2830).

Mats and duckboards must be of non-absorbent, grease-resistant materials and such size, design, and construction as to facilitate being easily cleaned (2850).

Utility service lines and pipes shall not be unnecessarily exposed on walls, ceilings, or on floors, in walk-in refrigeration units, food preparation and storage areas, equipment, utensil washing areas, toilet rooms, or vestibules (2820).

Protection against insect and rodent entry to the facility shall be provided through the use of tight-fitting, screened, self-closing doors that open outward, controlled air currents, or other approved means. Drive-up and pass-through windows must be tight-fitting and self-closing (2930).

## FOOD SERVICE EQUIPMENT

Floor-mounted equipment that is not readily moveable shall be sealed to the floor or elevated on legs to provide a six-inch (6") clearance (1560).

Unless sufficient space is provided for easy cleaning between, behind, and above each unit of fixed equipment, these spaces shall be sealed (1550).

Counter-mounted equipment that is not easily moveable shall be sealed to the counter or elevated on legs to provide a four-inch (4") clearance. The sealant must be non-toxic food-grade (1560).

Beverage tubing and cold plate beverage cooling devices may not be installed in contact with stored ice. This section does not apply to cold plates that are constructed integrally with an ice storage bin (1260).

## STORAGE AND SERVING FACILITIES

Shelving for food storage and utensil storage must provide a minimum of six inches (6") of clearance from the floor (1560).

If employees routinely change clothes within the establishment, rooms or areas are to be designated and used for that purpose. Lockers or other facilities shall be provided for orderly storage of employee clothing and other possessions (3100).

Sneeze guards shall be designed and installed to adequately protect food from customer contamination (650).

Separate rooms must be provided for laundry facilities (1540).

All refrigeration equipment must be capable of maintaining food at 41°F or less.

## VENTILATION

Hoods and fire suppression systems shall be in accordance with local and state codes.

All rooms, including storage areas, shall have sufficient ventilation to keep them free of excessive heat, steam, condensation, vapors, obnoxious odors, smoke, and fumes (1480, 3090).

## THREE-COMPARTMENT SINK

A three-compartment sink is needed and shall be adequately sized to handle the largest utensils and equipment that will be used. Drainboards are to be provided on each end of the sink. The sink must be equipped so that hot and cold running water is available to each compartment through an approved spigot. Tables of sufficient size and utensil racks may be substituted for drain boards (1460, 1470).

If the three-compartment sink is used as a culinary sink (for food preparation such as washing produce and thawing frozen foods) there cannot be a direct waste line connection. An air gap must be provided (2260).

## HAND SINKS AND MOP SINKS

Hand sinks are to be accessible and conveniently located in all food preparation areas, food dispensing areas, and all utensil-washing areas (2280, 2310, 3240).

Each hand sink must be provided with hot and cold water tempered utilizing a mixing valve or combination faucet. A self-closing, slow-closing, or metering faucet shall provide a flow of water for a minimum of 15 seconds (2190).

Soap dispensers and hand towel dispensers or proper, heated air-drying devices are to be conveniently located next to all hand sinks in the kitchen and toilet rooms. If disposable towels are used, easily cleanable waste receptacles are to be located near the hand washing facilities (2650, 3020, 3030, 3050).

A sign or poster that notifies food employees to wash their hands shall be provided at the hand sink (3045).

Hand washing aids (soap dispensers, hand towel dispensers, waste receptacles) may not be located at warewashing sinks and prep sinks (3040).

## PLUMBING

All indirect waste piping for food sinks, refrigerator coils, walk-in freezers, ice bins, ice cream machines, steam kettles, steam tables, potato peelers, egg boilers, coffee urns, and similar equipment shall discharge through an air gap or air break into a properly vented trap or vented receptor (2520).

Vacuum breakers or backflow preventers are needed for all threaded faucets and any equipment such as soft drink systems and coffee makers that have a direct connection to the potable water supply line (2260, 2270).

An air gap between the water supply inlet and the flood level rim of the plumbing fixture, equipment, or non-food equipment shall be at least twice the diameter of the water supply inlet and may not be less than one inch (1") (2200).

An adequate supply of hot water (110° F.) is required. The water heater shall be sufficient to meet the peak hot water demands of the food establishment (2120).

Grease traps are to be located so that the unit is easily accessible for cleaning.

## LIGHTING

Fifty (50) foot-candles of light shall be provided at surfaces where food employees work with food or utensils/equipment such as knives, slicers, or grinders where safety is a factor as well as utensil and utensil washing areas (3080).

All lights over, by, or within food storage, preparation, service, and display facilities, and facilities where utensils and equipment are cleaned and stored are to be shielded. This includes track lighting, recessed can fixtures, and decorative neon lighting (2890).

## PERSON IN CHARGE/CERTIFIED FOOD SERVICE MANAGER

A Person in Charge who can demonstrate knowledge of foodborne disease prevention and the requirements of the

Regulations are required to be present at the food establishment during all hours of operation (50, 60)

Virginia Beach City Code requires all food establishments to have a Certified Foodservice Manager on duty for a minimum of eight (8) hours for each day the establishment is open. The Certified Foodservice Managers may serve as the Person in Charge and must be registered with the Virginia Beach Department of Public Health at 518-2646.

PRESENTED FROM THE VIRGINIA BEACH DEPARTMENT OF PUBLIC HEALTH

4452 Corporation Lane, Virginia Beach, VA  23462 Phone Number: 518-2700 opt #3

The following are the approved Certified Food Protection Manager (CFPM) courses that are required for all food service establishments within the food protection program within the City of Virginia Beach.

The following certifications are accredited by the American National Standards Institute (ANSI) & the Conference of Food Protection.  There are a number of courses that are approved through the ANSI-CFP accreditation programs that are listed below.  These courses will meet the Virginia Department of Health Food Protection Program/regulation (12 VAC5-421-55)

- 360TRAINING.COM, INC.  (888-360-8764) www.learn2serve.com.com   and    contact@360onlinetraining.com

- ABOVETRAINING/STATEFOODSAFETY.COM  (801-494-1416) www.StateFoodSafety.com   and   support@statefoodsafety.com

- NATIONAL REGISTRY OF FOOD SAFETY PROFESSIONALS

800-446-0257 / 407-352-3830

www.nrfsp.com  and  Customer.Service@nrfsp.com

- NATIONAL RESTAURANT ASSOCIATION  (800-765-2122) www.servsafe.com    and    ServiceCenter@restaurant.org

- PROMETRIC, INC. (800-624-2736) http://prometric.com/foodsafety/default.htm

- The Always Food Safe Company, LLC

www.alwaysfoodsafe.com    and    help@alwaysfoodsafe.com

- Southern Hospitality Training Services of VA   	(804-247-9490) rebecca@sohova.org

- Norfolk Health Department 	(757-683-2800)

- Portsmouth Health Department 	(757-393-8585)

This list is not comprehensive nor a list of recommended courses.  For more

information about ANSI ID number:

https://www.ansi.org/accrediation/credentialing/personnel-certification/food-

protection-manger/ALLdirectoryListing?menuID=8&prgID=8&statusID=4

Contact the course provider for current information.  This is compiled for informational purposes only.

rev 2/2022

## EMPLOYEE ILLNESS REPORTING REQUIREMENTS

EMPLOYEE MUST REPORT THE FOLLOWING TO A MANAGER OR SUPERVISOR

SYMPTOMS:

| → | Sore throat with fever |
| --- | --- |
| → | Discharge from eyes, nose or mouth (sneezing or coughing excessively) |
| → | Unprotected cuts or infections |
| → | Diarrhea (loose stools or change in normal bowel movements) |
| → | Fever |
| → | Vomiting |
| → | Jaundice (yellowish eyes or skin) or dark colored urine (cola or tea colored) |

IMPORTANT: SEND SICK EMPLOYEES HOME NOW

THE BIG SIX:

| → | Salmonella Typhi (Typhoid fever) |
| --- | --- |
| → | Salmonella (non-typhoidal) |
| → | Shigella spp. (Dysentery) |
| → | E. coli (Shiga-toxin producing) |
| → | Hepatitis A Virus |
| → | Norovirus |
|  | REPORT IF YOU, SOMEONE IN YOUR HOUSEHOLD, OR A FELLOW EMPLOYEE HAS |

BEEN EXPOSED OR RECEIVES A BIG SIX DIAGNOSIS

OR 󠆨IF 󠆨YOU’VE 󠆨HAD 󠆨A 󠆨PAST 󠆨ILLNESS 󠆨WITH 󠆨ANY 󠆨OF 󠆨THE 󠆨BIG 󠆨SIX. 󠆨

I agree to report my health status and activities that relate to food-borne illnesses.

EMPLOYEE NAME (PLEASE PRINT) _________________________________

EMPLOYEE SIGNATURE 	 	_________________________________ DATE ___________

PERSON IN CHARGE SIGNATURE 	_________________________________ DATE ___________

EMPLOYEE HEALTH

Employees must report the following to a Manager or Supervisor



Diarrhea



Fever



Vomiting



Jaundice

Also report if you (or someone in your household) receives a

BIG SIX diagnosis, or if you have had a past illness with the any. of

the BIG SIX.

a

Symptoms:

- Sore throat with fever

- Discharges from eyes, nose, or mouth

- Unprotected pustule lesions

THE BIG SIX:

- Salmonella Typhi (Typhoid fever)

- Salmonella (non-typhoidal)

- Shigella spp. (Dysentery)

- E. Coli (Shiga-toxin producing)

- Hepatitis A Virus

- Norovirus

Remember:  If you are sick, stay home!

For any questions concerning restrictions or exclusions, please call the Virginia Beach Department of Public

Health (757) 518-2700

Virginia Beach Department of Public Health

Office of Environmental Health

4452 Corporation Lane

Virginia Beach, VA 23462

(757) 518-2700 FAX (757) 518-2642

ANNUAL COMMISSARY AGREEMENT

To be completed by APPLICANT – Please print or type.

Business Name _______________________________________________________________________________

Owner/Operator Name__________________________________________________________________________

Business Mailing Address _________________________________________________________ Suite__________

City ___________________ State _____ Zip _______ Home Phone___________________ Bus. Phone__________

Vehicle VIN _____________________________________________ License Plate#________________

I, ____________________________________________, hereby state that the above information is current, true, and correct to the best of my knowledge and agree to utilize my approved commissary in accordance with the Commonwealth of Virginia Board of Health Governing Restaurants, Part 31 and the Virginia Beach Department of Public Health.  NOTE: If this Commissary Agreement is modified or canceled, and a new Commissary Agreement is not provided to this office, your permit to operate a food facility will be subject to suspension or revocation.

Signature________________________________________________________ Date________________________

To be completed by COMMISSARY OWNER/OPERATOR – Please print or type.

Commissary Name ____________________________________________________________________________

Address _____________________________________________________________________ Suite____________

City ______________________________ State ________ Zip ______________ Bus. Phone___________________

Owner/Operator Name___________________________________________________________________________

Check all services provided:

| ⁭ Mobile Unit Storage |  | ⁭ Electrical Hookup |  | ⁭ Toilet and Handwashing Facilities |
| --- | --- | --- | --- | --- |
| ⁭ Potable Water Supply |  | ⁭ Grease Disposal |  | ⁭ Garbage Disposal |
| ⁭ Food Preparation |  | ⁭ Food Storage |  | ⁭ Ware washing Facilities (3-compartment sink) |

⁭ Days/Hours of Access to Commissary (_________________) 	⁭ Wastewater Disposal in Sanitary Sewer

(Ex: mop sink)

Additional Conditions Placed on Agreement:

___________________________________________________________________________________________________________

___________________________________________________________________________________________________________

I, _____________________________________, hereby state that the above information is current, true, and correct to the best of my knowledge and in accordance with the Commonwealth of Virginia Board of Health Governing Restaurants, Part 31 and the Virginia Beach Department of Public Health.  I also understand that this agreement is for a one-year period, however, I hold the right to cancel the agreement at any time upon notification to the applicant and to the Health Department.

Signature________________________________________________________ Date ________________________