## Disclaimer
This information is intended for use only by EPA, state, territory and tribal regulatory agencies.

## Description
Description of the Enforcement Targeting Tool
The purpose of the enforcement targeting tool is to prioritize public water systems for enforcement response. It assigns points for each unaddressed violation at a PWS in the last 5 years, which are added to create a total score for each PWS using the formula: Sum of (S1 + S2 + S3 + ...) + n where "S" is the severity factor for each unaddressed violation and "n" is a time factor applied to the water system. The S and n factors are described below:
ETT Score = Sum of (S1 + S2 + S3 + ...) + n
S = violation severity, generally based on Public Notice Tiers
S Values
10 | Acute violation, Tier 1. Nitrate MCLs, Acute MRDL (VCode 13), TCR Acute (21), Turbidity TT (43,44), SWTR TT (41). Note: some Tier 1 instances are not reported in SDWISFED (ex: waterborne disease outbreaks, or when a system fails to test for fecal or e. coli after any positive repeat)
5 | Other health-based violation, Tier 2. (Vtype=MCL, MRDL, TT) Also, TCR MR Repeats (Vcode 25 and 26) and Nitrate MRs
1 | Monitoring/reporting violation, or any other violation, Tier 3 (such as PN, CCR, etc)
n = maximum number of years since the system's oldest unaddressed violation
n Values
0 to 5 | n = (current calendar year) minus (compliance period begin or end date) (For example, if the PWS's oldest unaddressed violation in the past five years occurred in the current calendar year, an n factor of 0 is assigned. If it occurred two years prior, an n factor of 2 is assigned)
Violations where compliance period begin date is used: See codes worksheet for details
SWTR TT - VCodes 41,42
IESWTR MR - VCode 29. TT - VCodes 37,47. Record keeping VCode = 9, CCode = 0300
DBP TT - VCode 12. MR - VCode 27 & CCode 0400
all LCR - VCodes 51,52,53,56,57,58,59,63,64,66
all PN - VCodes 71,72,75,76
Misc - VCodes 5,6,7,8,10
For all other violations, the compliance period end date is used
Implicit Return to Compliance Note
This calculator includes an Implicit Return to Compliance Tool. It is similar to the process that was included in SNC calculator that implicitly addresses certain violations if no additional violations of the same type occur at the PWS in the subsequent 6 months. The new RTC tool addresses all applicable violations by rule for the rules listed below. Violations that are implicitly RTCd with this tool are not included in the score for the PWS.
It addresses the following violation codes for TCR, SWTR and IESWTR:
All TCR violation codes: 21,22,23,24,25,26
SWTR violation codes 31 and 36 MR, and Code 41 TT (see Codes worksheet for details)
IESWTR violation code 38 MR
These violation codes are implicitly addressed if there hasn't been a subsequent violation, by rule, for more than 6 months.
Additional information
Dataset: | most recent quarterly frozen SDWISFED database. The violation data includes federally-regulated contaminant violations that occurred in the last 5 years at all systems (including PWS with no violations and inactive PWS).
Violation Addressing: | The PWS score includes only violations that have not received an 'addressing' enforcement action, including resolving actions such as return to compliance.
* Violations are considered RTC'd with the earliest SOX, EOX, SO0 or EO0 enforcement action, or on the date the PWS closes, if the state reports a deactivation date. Also counted as RTCing are enforcement action type SO6 and EO6 for violation codes: 9, 12, 29, 37, 56, 57, 58, 59, 63 and 64.
* Violations are addressed with the following codes: S/EF%, S/EFR, S/EFW, SFM, EF-, EF=, EF<, S/EFL, S/EFK, S/EF9, S/EFQ, S/EF&, S/EFV, S/EO0, SFO, EF/, SOX, EOX, ESX, ETX, and S/EO6 for Vcodes 9, 12, 29, 37 and for the following codes if the PWS has "tested back into compliance" and no longer has lead/copper results over the action level: 56, 57, 58, 59, 63, 64. SO6/EO6 codes also count as addressing for violation types 75 and 76 (Public Notice violations) which began before 1/1/2010.
Grouping: | Violations under the same rule, with the same compliance period begin and end dates and violation code, have been grouped together. For example, if a system fails to monitor for the entire group of 21 Volatile Organic Contaminants, a single Severity factor of 1 would apply for the entire VOC group, instead of 21 separate Severity scores of 1 point each. This also groups violations at a PWS if violations, meeting the grouping criteria, are reported for multiple facilities at the PWS.
Other terms used in this Excel Workbook
"PWS_list" Worksheet | The primary list of ALL active water systems with their associated scores using the ETT Score/ Sum(S)+n.
"AllViols-PTable" Worksheet / Pivot Table | A pivot table that sumarizes the number of individual violations in each Region/State that are associated with each active water system. The violation details can be obtained by double-clicking on any of the summary numbers. This table includes all violations at active water systems in the last 5 years - ie both addressed and unaddressed violations. Note that violations that have a value in either the AddrPts or RTCPts columns are not included in the system's score.
"Compliance Pivot" Worksheet / Pivot Table | The data from PWS_List in Pivot Table format so that states and regions can monitor how many PWS currently have ETT scores of 0, 1-10 or >= 11. Within each of those categories, the table also shows the PWS's "On Path" status: either the PWS has never had an ETT score >= 11 ("Never Has Been >= 11"); it has previously had an ETT score >= 11 and still has not gotten its score down to zero ("Not on Path"); it has gotten its score down to zero through a combination of formal enforcement actions and returning violations to compliance ("On Path"); or it has retunred all violations to compliance ("RTC").
"Formal Enf Tracking" Worksheet / Pivot Table | The FormalEnfTracking Pivot Table shows the number of Formal Enforcement Actions (with the exception of enforcement sensitive actions SF9/EF9 and SF&/EF&) that are linked to violations which haven't returned to compliance (RTCed) and the number of Public Waters Systems (PWSs) affected. (Enforcement codes shown are: 'SFK','EFK','SFL','EFL','SFQ','EFQ','SF%','EF%','SFR','EFR','EFW','SFW','SFM','EF-','EF=','EF<','SFV','EFV','SFO','EF/'. By default, only EFK/SFK, EFL/SFL and SFO are shown to help with tracking BCAs and Administrative Orders.) Double-clicking on any of the counts reveals the underlying enforcement and violation details. Within the violation details, there is information on the enforcement actions and the violations these actions are linked to. Enforcement actions and violations may appear more than once. "TotNumFormalEnfs" indicates how many separate Formal Enforcement Actions the violation is linked to. High values indicate that multiple formal enforcements have not resulted in a return to compliance (RTC). "PivotCounterFormalEnfs" and "PivotCounterPWSs" should be ignored; they only help Excel avoid double-counting.
Sys had Tier 1 viols? | Indicates "YES" if the system has had Tier 1 violations in the past 5 years as defined by the PN Tiers(either currently addressed or unaddressed).
PWSType: | The type of water system: Community, Non-Transient Non-Community or Transient Non-Community
Pop Srvd: | Population served by a water system.
Priority System Since | Date for end of the quarter when system first scored 11 or higher.
Repeat violator tool: | Sum of S points for all addressed, RTCd and unaddressed violations in the past 5 years, without the n time factor.
Total RTCd: | Sum of all S points that have been RTCd in the past 5 years, without the n time factor
On Path to Compliance: | For all systems that have been on a previous quarter's list with a score greater or equal to 11, indicates if the system's prior unaddressed violations are not under enforcement or RTCd ("Not on Path" and shaded dark orange), is under formal enforcement for all prior unaddressed violations with a new score of 0 ("On Path" and shaded light yellow at bottom of list), or all violations have RTCd with a new score of 0 ("RTC" and shaded light green at bottom of list). NOTE: If some of the prior unaddressed violations have been addressed or RTCd but some violations remain unaddressed, this column will indicate "Not on Path"
School or Childcare | In the Enforcement Targeting Tool (ETT) list, systems shown as "schools or childcares" are those systems that have either the code for school (SC) or daycare (DC) in the primary service area designation in SDWIS-Fed, regardless of whether they are transient or nontransient systems. Please note that OGWDW's use of the term "school" excludes transient systems.
VioID: | The violation's ID number, unless several violations are grouped (see Vcount below)
Vcount: | Indicates if several violations are grouped together and given one Severity factor score for the entire contaminant group. See Grouping example above.
Ctype_pt: | Contaminant type (TCR, nitrates, etc)
Vtype_pt: | Violation type (MCL, monitoring/reporting [MR], etc)
Vcode: | Violation code (23 indicates TCR MR violation, etc)
CompPerd Begin: | Compliance period begin date
CompPerd End: | Compliance period end date
S (or Pts): | Severity factor score as described above
n: | Time factor as described above
AddrPts: | A number in this column indicates that the particular violation has been addressed or returned to compliance
RTCPts: | A number in this column indicates that the particular violation has been returned to compliance

## PWS_List
The Enforcement Response Policy Targeting Tool - PWS Ranking using Sum of (S1 + S2 + S3 + ...) + n Formula -
| All ETT Scores above the following threshold are highlighted yellow. |  |  | 11 |  | Database: July 2014 SDWIS/FED Freeze (For most states, this includes data up to Mar 31, 2014.)
EPA Region | State | PWSID | PWS Name | ETT Score | Sys has Tier 1 viols? | PWS Type | Pop Srvd | Priority Since Date | Repeat Violator Tool | Total RTCd Pts | On Path to Compliance? | School or Childcare | ETT score classification
03 | VA | VA3800290 | HOBSON ARTESIAN | 100 | N | CWS | 70 | 12/31/2009 | 143 | 47 | Not on Path | N | Current Score >= 11
03 | VA | VA3093400 | RESCUE WATERWORKS | 99 | N | CWS | 203 | 12/31/2009 | 95 |  | Not on Path | N | Current Score >= 11
03 | VA | VA3800080 | BIRDSONG WATER COMPANY | 97 | N | CWS | 71 | 12/31/2009 | 96 | 4 | Not on Path | N | Current Score >= 11
03 | VA | VA3093850 | WILLING WORKERS CLUB | 59 | N | CWS | 31 | 12/31/2009 | 57 | 2 | Not on Path | N | Current Score >= 11
03 | VA | VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | N | CWS | 840 | 12/31/2012 | 91 | 16 | Not on Path | N | Current Score >= 11
03 | VA | VA3800310 | HOLLAND SUBDIVISION | 37 | N | CWS | 405 | 03/31/2013 | 95 |  | Not on Path | N | Current Score >= 11
03 | VA | VA3093647 | SPRINGFIELD DOWNS | 36 | N | CWS | 120 | 12/31/2009 | 102 | 7 | Not on Path | N | Current Score >= 11
03 | VA | VA3093324 | LONGVIEW ACRES | 36 | N | CWS | 168 | 06/30/2013 | 101 | 6 | Not on Path | N | Current Score >= 11
03 | VA | VA3093180 | CHERRY GROVE ACRES | 36 | N | CWS | 108 | 06/30/2013 | 101 | 6 | Not on Path | N | Current Score >= 11
03 | VA | VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | N | CWS | 146 | 12/31/2013 | 110 | 5 | Not on Path | N | Current Score >= 11
03 | VA | VA6061150 | MARSH RUN MOBILE HOME PARK | 31 | N | CWS | 1128 | 09/30/2013 | 36 | 6 | Not on Path | N | Current Score >= 11
03 | VA | VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | N | CWS | 55 | 12/31/2009 | 127 | 96 | Not on Path | N | Current Score >= 11
03 | VA | VA4115455 | CRICKET HILL APARTMENTS | 27 | N | CWS | 88 | 09/30/2013 | 50 | 25 | Not on Path | N | Current Score >= 11
03 | VA | VA6047490 | BRENRIDGE SUBDIVISION | 24 | N | CWS | 175 | 06/30/2014 | 46 | 14 | New | N | Current Score >= 11
03 | VA | VA3810110 | CREEDS ELEMENTARY SCHOOL | 20 | Y | NTNCWS | 326 | 03/31/2014 | 20 |  | Not on Path | Y | Current Score >= 11
03 | VA | VA2003175 | BURTON COURT APARTMENTS | 20 | Y | CWS | 50 | 06/30/2014 | 21 | 1 | New | N | Current Score >= 11
03 | VA | VA6153630 | PADDOCKS OF NOKESVILLE | 17 | N | TNCWS | 25 | 06/30/2014 | 56 | 40 | New | N | Current Score >= 11
03 | VA | VA2003203 | CHARLOTTESVILLE MOOSE LODGE | 16 | N | TNCWS | 400 | 06/30/2014 | 27 | 13 | New | N | Current Score >= 11
03 | VA | VA6047374 | OUR FATHERS HOUSE | 15 | N | CWS | 51 | 06/30/2014 | 17 | 2 | New | N | Current Score >= 11
03 | VA | VA4036500 | MT ZION/RUSTIC AREA | 15 | N | CWS | 230 | 06/30/2014 | 39 | 24 | New | N | Current Score >= 11
03 | VA | VA1155129 | COVEY`S FAMILY CAMPGROUND NO. 2 | 14 | N | TNCWS | 676 | 03/31/2014 | 25 | 12 | Not on Path | N | Current Score >= 11
03 | VA | VA6153480 | GAINESVILLE MINI LIBRARY | 14 | N | TNCWS | 300 | 06/30/2014 | 33 | 21 | New | N | Current Score >= 11
03 | VA | VA4193525 | HARBOR VIEW MARINA | 13 | N | TNCWS | 60 | 06/30/2014 | 35 | 23 | New | N | Current Score >= 11
03 | VA | VA4103985 | WINDMILL POINT MARINA | 13 | N | TNCWS | 166 | 06/30/2014 | 13 |  | New | N | Current Score >= 11
03 | VA | VA5031650 | MASTER`S INN | 12 | N | TNCWS | 100 | 03/31/2013 | 68 | 42 | Not on Path | N | Current Score >= 11
03 | VA | VA4085920 | RHAPSODY | 11 | N | NTNCWS | 63 | 03/31/2014 | 10 |  | Not on Path | N | Current Score >= 11
03 | VA | VA2065600 | PINE GROVE MOBILE HOME PARK | 11 | N | CWS | 79 | 03/31/2014 | 14 | 8 | Not on Path | N | Current Score >= 11
03 | VA | VA4075635 | PATTERSON WEST BUSINESS CENTER | 11 | N | NTNCWS | 90 | 03/31/2014 | 10 |  | Not on Path | N | Current Score >= 11
03 | VA | VA6107200 | HILLSBORO, TOWN OF | 11 | N | CWS | 58 | 03/31/2014 | 136 | 130 | Not on Path | N | Current Score >= 11
03 | VA | VA4085080 | BEREA BAPTIST CHURCH | 11 | N | NTNCWS | 60 | 03/31/2014 | 11 | 1 | Not on Path | Y | Current Score >= 11
03 | VA | VA4127400 | THREE BROTHERS, LLC | 11 | N | TNCWS | 33 | 03/31/2014 | 17 | 11 | Not on Path | N | Current Score >= 11
03 | VA | VA3710050 | NORFOLK NAVAL BASE | 11 | N | CWS | 48300 | 06/30/2014 | 10 |  | New | N | Current Score >= 11
03 | VA | VA3810507 | PUNGO PIZZA AND ICE CREAM | 11 | N | TNCWS | 50 | 06/30/2014 | 15 | 5 | New | N | Current Score >= 11
03 | VA | VA6047255 | GLENDALE SUBDIVISION | 11 | N | CWS | 42 | 06/30/2014 | 38 | 18 | New | N | Current Score >= 11
03 | VA | VA2079590 | MOUNTAIN LAKES WATER COMPANY | 11 | N | CWS | 2114 | 06/30/2014 | 33 | 22 | New | N | Current Score >= 11
03 | VA | VA6033249 | FOUR WINDS CAMPING | 11 | N | CWS | 2065 | 06/30/2014 | 58 | 48 | New | N | Current Score >= 11
03 | VA | VA2043640 | MOUNTAIN VIEW MOTEL | 11 | N | TNCWS | 50 | 06/30/2014 | 28 | 18 | New | N | Current Score >= 11
Note on E2: You can change this value to test other significance thresholds.
Note on A4: Press the gray down arrow in this cell to select PWSs in an EPA Region.
Note on C4: Press the gray down arrow in this cell to select PWSs by ID.
Note on D4: Press the gray down arrow in this cell to select a single PWS. Orange highlighting indicates system was previously >=11.
Note on E4: ETT Score based on the formula: Sum(S1 + S2 + S3 +. . . . ) + n for violations that have not been addressed nor RTC'd S (for each unaddressed violation) + n (applied at the water system level).
Note on F4: 'Y' indicates the PWS has one or more Acute (PN Tier 1) violations. You can use this as a filter to identify all PWSs having an acute violation.
Note on I4: Date the system first became a priority (scored 11 or more). Red Highlighting indicates that system is not fully addressed and was first >= 11 more than 6 months ago. 6 months is amount of time allowed for action in the ERP.
Note on J4: Sum of S for every violation (including addressed, not addressed, and RTCd viols) Use this to find systems with most violations such as chronic repeat violators. Note that this PWS list only includes systems with a current ETT score of 1 or greater.
Note on K4: Sum of S for all violations Returned to Compliance
Note on L4: For Systems previously at 11 or higher, are all violations: - returned to compliance (RTC)? or on the path to compliance via a formal action (On Path )? OR - are any violations not RTCd nor on the path (Not on Path) ?

## VA_Violations
PWSID | PWS Name | ETT Score | Pop Srvd | PWS Type | Primary Source | Violation Code | Violation Type | Rule Name | Compl Per Begin Date | Compl Per End Date | Severity Points | Formal Action Points | n | School or Childcare | Viol Count
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 03 | MR | Rads | 01/01/2008 | 12/31/2010 | 1 |  | 3 | N | 3
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 10/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 07/01/2013 | 09/30/2013 | 5 |  | 0 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 04/01/2013 | 06/30/2013 | 5 |  | 1 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 01/01/2013 | 03/31/2013 | 5 |  | 1 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 10/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 07/01/2012 | 09/30/2012 | 5 |  | 1 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 04/01/2012 | 06/30/2012 | 5 |  | 2 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 01/01/2012 | 03/31/2012 | 5 |  | 2 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 10/01/2011 | 12/31/2011 | 5 |  | 2 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 07/01/2011 | 09/30/2011 | 5 |  | 2 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 04/01/2011 | 06/30/2011 | 5 |  | 3 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 01/01/2011 | 03/31/2011 | 5 |  | 3 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 10/01/2010 | 12/31/2010 | 5 |  | 3 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 07/01/2010 | 09/30/2010 | 5 |  | 3 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 04/01/2010 | 06/30/2010 | 5 |  | 4 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 01/01/2010 | 03/31/2010 | 5 |  | 4 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 10/01/2009 | 12/31/2009 | 5 |  | 4 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 02 | MCL | Other IOC | 07/01/2009 | 09/30/2009 | 5 |  | 4 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 03 | MR | Other IOC | 01/01/2008 | 12/31/2010 | 1 |  | 3 | N | 10
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 03 | MR | Arsenic | 01/01/2008 | 12/31/2010 | 1 |  | 3 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 03 | MR | VOC | 01/01/2008 | 12/31/2010 | 1 |  | 3 | N | 21
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 34 | MR | GWR | 11/03/2010 |  | 1 |  | 0 | N | 1
VA3800290 | HOBSON ARTESIAN | 100 | 70 | CWS | GW | 23 | MR | TCR | 03/01/2014 | 03/31/2014 | 1 |  | 0 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 01/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 10/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 07/01/2013 | 09/30/2013 | 5 |  | 0 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 04/01/2013 | 06/30/2013 | 5 |  | 1 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 01/01/2013 | 03/31/2013 | 5 |  | 1 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 10/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 07/01/2012 | 09/30/2012 | 5 |  | 1 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 04/01/2012 | 06/30/2012 | 5 |  | 2 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 01/01/2012 | 03/31/2012 | 5 |  | 2 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 10/01/2011 | 12/31/2011 | 5 |  | 2 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 07/01/2011 | 09/30/2011 | 5 |  | 2 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 04/01/2011 | 06/30/2011 | 5 |  | 3 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 01/01/2011 | 03/31/2011 | 5 |  | 3 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 10/01/2010 | 12/31/2010 | 5 |  | 3 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 07/01/2010 | 09/30/2010 | 5 |  | 3 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 04/01/2010 | 06/30/2010 | 5 |  | 4 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 01/01/2010 | 03/31/2010 | 5 |  | 4 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 10/01/2009 | 12/31/2009 | 5 |  | 4 | N | 1
VA3093400 | RESCUE WATERWORKS | 99 | 203 | CWS | GW | 02 | MCL | Other IOC | 07/01/2009 | 09/30/2009 | 5 |  | 4 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 75 | Other | PN rule | 03/12/2011 |  | 1 |  | 3 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 75 | Other | PN rule | 11/21/2008 |  | 1 |  | 5 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 10/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 07/01/2013 | 09/30/2013 | 5 |  | 0 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 04/01/2013 | 06/30/2013 | 5 |  | 1 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 01/01/2013 | 03/31/2013 | 5 |  | 1 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 10/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 07/01/2012 | 09/30/2012 | 5 |  | 1 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 04/01/2012 | 06/30/2012 | 5 |  | 2 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 01/01/2012 | 03/31/2012 | 5 |  | 2 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 10/01/2011 | 12/31/2011 | 5 |  | 2 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 07/01/2011 | 09/30/2011 | 5 |  | 2 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 04/01/2011 | 06/30/2011 | 5 |  | 3 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 01/01/2011 | 03/31/2011 | 5 |  | 3 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 10/01/2010 | 12/31/2010 | 5 |  | 3 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 07/01/2010 | 09/30/2010 | 5 |  | 3 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 04/01/2010 | 06/30/2010 | 5 |  | 4 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 01/01/2010 | 03/31/2010 | 5 |  | 4 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 10/01/2009 | 12/31/2009 | 5 |  | 4 | N | 1
VA3800080 | BIRDSONG WATER COMPANY | 97 | 71 | CWS | GW | 02 | MCL | Other IOC | 07/01/2009 | 09/30/2009 | 5 |  | 4 | N | 1
VA3093850 | WILLING WORKERS CLUB | 59 | 31 | CWS | GW | 02 | MCL | Other IOC | 01/01/2013 | 03/31/2013 | 5 |  | 1 | N | 1
VA3093850 | WILLING WORKERS CLUB | 59 | 31 | CWS | GW | 02 | MCL | Other IOC | 10/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA3093850 | WILLING WORKERS CLUB | 59 | 31 | CWS | GW | 02 | MCL | Other IOC | 07/01/2012 | 09/30/2012 | 5 |  | 1 | N | 1
VA3093850 | WILLING WORKERS CLUB | 59 | 31 | CWS | GW | 02 | MCL | Other IOC | 04/01/2012 | 06/30/2012 | 5 |  | 2 | N | 1
VA3093850 | WILLING WORKERS CLUB | 59 | 31 | CWS | GW | 02 | MCL | Other IOC | 04/01/2011 | 06/30/2011 | 5 |  | 3 | N | 1
VA3093850 | WILLING WORKERS CLUB | 59 | 31 | CWS | GW | 02 | MCL | Other IOC | 10/01/2010 | 12/31/2010 | 5 |  | 3 | N | 1
VA3093850 | WILLING WORKERS CLUB | 59 | 31 | CWS | GW | 02 | MCL | Other IOC | 07/01/2010 | 09/30/2010 | 5 |  | 3 | N | 1
VA3093850 | WILLING WORKERS CLUB | 59 | 31 | CWS | GW | 02 | MCL | Other IOC | 01/01/2010 | 03/31/2010 | 5 |  | 4 | N | 1
VA3093850 | WILLING WORKERS CLUB | 59 | 31 | CWS | GW | 02 | MCL | Other IOC | 10/01/2009 | 12/31/2009 | 5 |  | 4 | N | 1
VA3093850 | WILLING WORKERS CLUB | 59 | 31 | CWS | GW | 02 | MCL | Other IOC | 07/01/2009 | 09/30/2009 | 5 |  | 4 | N | 1
VA3093850 | WILLING WORKERS CLUB | 59 | 31 | CWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 01/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 10/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 07/01/2013 | 09/30/2013 | 5 |  | 0 | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 04/01/2013 | 06/30/2013 | 5 |  | 1 | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 01/01/2013 | 03/31/2013 | 5 |  | 1 | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 10/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 07/01/2012 | 09/30/2012 | 5 |  | 1 | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 04/01/2012 | 06/30/2012 | 5 |  | 2 | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 01/01/2012 | 03/31/2012 | 5 |  | 2 | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 10/01/2011 | 12/31/2011 | 5 | 5 |  | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 07/01/2011 | 09/30/2011 | 5 | 5 |  | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 04/01/2011 | 06/30/2011 | 5 | 5 |  | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 01/01/2011 | 03/31/2011 | 5 | 5 |  | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 10/01/2010 | 12/31/2010 | 5 | 5 |  | N | 1
VA3001100 | CAPTAINS COVE SUBDIVISION | 47 | 840 | CWS | GW | 02 | MCL | Arsenic | 10/01/2009 | 09/30/2010 | 5 | 5 |  | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 01/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 10/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 07/01/2013 | 09/30/2013 | 5 |  | 0 | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 04/01/2013 | 06/30/2013 | 5 |  | 1 | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 01/01/2013 | 03/31/2013 | 5 |  | 1 | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 10/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 07/01/2012 | 09/30/2012 | 5 | 5 |  | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 04/01/2012 | 06/30/2012 | 5 | 5 |  | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 01/01/2012 | 03/31/2012 | 5 | 5 |  | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 10/01/2011 | 12/31/2011 | 5 |  | 2 | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 07/01/2011 | 09/30/2011 | 5 | 5 |  | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 04/01/2011 | 06/30/2011 | 5 | 5 |  | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 01/01/2011 | 03/31/2011 | 5 | 5 |  | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 10/01/2010 | 12/31/2010 | 5 | 5 |  | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 07/01/2010 | 09/30/2010 | 5 | 5 |  | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 04/01/2010 | 06/30/2010 | 5 | 5 |  | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 01/01/2010 | 03/31/2010 | 5 | 5 |  | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 10/01/2009 | 12/31/2009 | 5 | 5 |  | N | 1
VA3800310 | HOLLAND SUBDIVISION | 37 | 405 | CWS | GW | 02 | MCL | Other IOC | 07/01/2009 | 09/30/2009 | 5 | 5 |  | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 01/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 10/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 07/01/2013 | 09/30/2013 | 5 |  | 0 | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 04/01/2013 | 06/30/2013 | 5 |  | 1 | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 01/01/2013 | 03/31/2013 | 5 |  | 1 | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 10/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 07/01/2012 | 09/30/2012 | 5 |  | 1 | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 04/01/2012 | 06/30/2012 | 5 | 5 |  | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 01/01/2012 | 03/31/2012 | 5 | 5 |  | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 10/01/2011 | 12/31/2011 | 5 | 5 |  | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 07/01/2011 | 09/30/2011 | 5 | 5 |  | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 04/01/2011 | 06/30/2011 | 5 | 5 |  | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 01/01/2011 | 03/31/2011 | 5 | 5 |  | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 10/01/2010 | 12/31/2010 | 5 | 5 |  | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 07/01/2010 | 09/30/2010 | 5 | 5 |  | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 04/01/2010 | 06/30/2010 | 5 | 5 |  | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 01/01/2010 | 03/31/2010 | 5 | 5 |  | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 10/01/2009 | 12/31/2009 | 5 | 5 |  | N | 1
VA3093647 | SPRINGFIELD DOWNS | 36 | 120 | CWS | GW | 02 | MCL | Other IOC | 07/01/2009 | 09/30/2009 | 5 | 5 |  | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 01/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 10/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 07/01/2013 | 09/30/2013 | 5 |  | 0 | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 04/01/2013 | 06/30/2013 | 5 |  | 1 | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 01/01/2013 | 03/31/2013 | 5 |  | 1 | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 10/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 07/01/2012 | 09/30/2012 | 5 |  | 1 | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 04/01/2012 | 06/30/2012 | 5 | 5 |  | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 01/01/2012 | 03/31/2012 | 5 | 5 |  | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 10/01/2011 | 12/31/2011 | 5 | 5 |  | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 07/01/2011 | 09/30/2011 | 5 | 5 |  | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 04/01/2011 | 06/30/2011 | 5 | 5 |  | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 01/01/2011 | 03/31/2011 | 5 | 5 |  | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 10/01/2010 | 12/31/2010 | 5 | 5 |  | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 07/01/2010 | 09/30/2010 | 5 | 5 |  | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 04/01/2010 | 06/30/2010 | 5 | 5 |  | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 01/01/2010 | 03/31/2010 | 5 | 5 |  | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 10/01/2009 | 12/31/2009 | 5 | 5 |  | N | 1
VA3093324 | LONGVIEW ACRES | 36 | 168 | CWS | GW | 02 | MCL | Other IOC | 07/01/2009 | 09/30/2009 | 5 | 5 |  | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 01/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 10/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 07/01/2013 | 09/30/2013 | 5 |  | 0 | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 04/01/2013 | 06/30/2013 | 5 |  | 1 | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 01/01/2013 | 03/31/2013 | 5 |  | 1 | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 10/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 07/01/2012 | 09/30/2012 | 5 |  | 1 | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 04/01/2012 | 06/30/2012 | 5 | 5 |  | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 01/01/2012 | 03/31/2012 | 5 | 5 |  | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 10/01/2011 | 12/31/2011 | 5 | 5 |  | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 07/01/2011 | 09/30/2011 | 5 | 5 |  | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 04/01/2011 | 06/30/2011 | 5 | 5 |  | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 01/01/2011 | 03/31/2011 | 5 | 5 |  | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 10/01/2010 | 12/31/2010 | 5 | 5 |  | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 07/01/2010 | 09/30/2010 | 5 | 5 |  | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 04/01/2010 | 06/30/2010 | 5 | 5 |  | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 01/01/2010 | 03/31/2010 | 5 | 5 |  | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 10/01/2009 | 12/31/2009 | 5 | 5 |  | N | 1
VA3093180 | CHERRY GROVE ACRES | 36 | 108 | CWS | GW | 02 | MCL | Other IOC | 07/01/2009 | 09/30/2009 | 5 | 5 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 71 | Other | CCR | 07/01/2013 |  | 1 |  | 1 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 71 | Other | CCR | 07/01/2012 |  | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 71 | Other | CCR | 07/01/2011 |  | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 71 | Other | CCR | 07/01/2009 |  | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 71 | Other | CCR | 07/01/2008 |  | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 71 | Other | CCR | 07/01/2007 |  | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 71 | Other | CCR | 07/01/2006 |  | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 52 | MR | LCR | 10/01/2011 |  | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 52 | MR | LCR | 10/01/2006 |  | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | Other IOC | 01/01/2011 | 12/31/2013 | 1 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | Other IOC | 01/01/2008 | 12/31/2010 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | Nitrates | 01/01/2012 | 12/31/2012 | 5 | 5 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | Nitrates | 01/01/2011 | 12/31/2011 | 5 | 5 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | Nitrates | 01/01/2010 | 12/31/2010 | 5 | 5 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 01/01/2014 | 03/31/2014 | 1 |  | 0 | N | 23
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 10/01/2013 | 12/31/2013 | 1 |  | 0 | N | 23
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 07/01/2013 | 09/30/2013 | 1 |  | 0 | N | 23
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 04/01/2013 | 06/30/2013 | 1 | 1 |  | N | 23
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 01/01/2013 | 03/31/2013 | 1 | 1 |  | N | 23
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 10/01/2012 | 12/31/2012 | 1 | 1 |  | N | 23
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 07/01/2012 | 09/30/2012 | 1 | 1 |  | N | 23
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 04/01/2012 | 06/30/2012 | 1 | 1 |  | N | 23
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 01/01/2012 | 03/31/2012 | 1 | 1 |  | N | 24
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 10/01/2011 | 12/31/2011 | 1 | 1 |  | N | 24
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 07/01/2011 | 09/30/2011 | 1 | 1 |  | N | 23
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 04/01/2011 | 06/30/2011 | 1 | 1 |  | N | 23
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | SOC | 01/01/2011 | 03/31/2011 | 1 | 1 |  | N | 23
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 03 | MR | VOC | 01/01/2011 | 12/31/2013 | 1 |  | 0 | N | 21
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 01/01/2014 | 03/31/2014 | 1 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 10/01/2013 | 12/31/2013 | 1 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 07/01/2013 | 09/30/2013 | 1 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 04/01/2013 | 06/30/2013 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 10/01/2012 | 12/31/2012 | 1 | 1 |  | N | 2
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 07/01/2012 | 09/30/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 04/01/2012 | 06/30/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 01/01/2012 | 03/31/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 10/01/2011 | 12/31/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 07/01/2011 | 09/30/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 04/01/2011 | 06/30/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 01/01/2011 | 12/31/2013 | 1 |  | 0 | N | 2
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 01/01/2011 | 03/31/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 10/01/2010 | 12/31/2010 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 01/01/2010 | 12/31/2012 | 1 | 1 |  | N | 2
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 27 | MR | St1 DBP | 01/01/2009 | 12/31/2011 | 1 | 1 |  | N | 2
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 12 | TT | St1 DBP | 05/30/2003 |  | 5 | 5 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 03/01/2014 | 03/31/2014 | 1 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 02/01/2014 | 02/28/2014 | 1 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 01/01/2014 | 01/31/2014 | 1 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 12/01/2013 | 12/31/2013 | 1 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 11/01/2013 | 11/30/2013 | 1 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 10/01/2013 | 10/31/2013 | 1 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 09/01/2013 | 09/30/2013 | 1 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 08/01/2013 | 08/31/2013 | 1 |  | 0 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 07/01/2013 | 07/31/2013 | 1 |  | 1 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 06/01/2013 | 06/30/2013 | 1 |  | 1 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 05/01/2013 | 05/31/2013 | 1 |  | 1 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 04/01/2013 | 04/30/2013 | 1 |  | 1 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 03/01/2013 | 03/31/2013 | 1 |  | 1 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 02/01/2013 | 02/28/2013 | 1 |  | 1 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 01/01/2013 | 01/31/2013 | 1 |  | 1 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 12/01/2012 | 12/31/2012 | 1 |  | 1 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 11/01/2012 | 11/30/2012 | 1 |  | 1 | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 10/01/2012 | 10/31/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 09/01/2012 | 09/30/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 08/01/2012 | 08/31/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 07/01/2012 | 07/31/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 06/01/2012 | 06/30/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 05/01/2012 | 05/31/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 04/01/2012 | 04/30/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 03/01/2012 | 03/31/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 02/01/2012 | 02/29/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 01/01/2012 | 01/31/2012 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 12/01/2011 | 12/31/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 10/01/2011 | 10/31/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 09/01/2011 | 09/30/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 08/01/2011 | 08/31/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 07/01/2011 | 07/31/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 06/01/2011 | 06/30/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 05/01/2011 | 05/31/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 04/01/2011 | 04/30/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 03/01/2011 | 03/31/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 02/01/2011 | 02/28/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 01/01/2011 | 01/31/2011 | 1 | 1 |  | N | 1
VA1197120 | BARREN SPRINGS WATERWORKS INC | 33 | 146 | CWS | GW | 23 | MR | TCR | 12/01/2010 | 12/31/2010 | 1 | 1 |  | N | 1
VA6061150 | MARSH RUN MOBILE HOME PARK | 31 | 1128 | CWS | GW | 02 | MCL | Arsenic | 01/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA6061150 | MARSH RUN MOBILE HOME PARK | 31 | 1128 | CWS | GW | 02 | MCL | Arsenic | 10/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA6061150 | MARSH RUN MOBILE HOME PARK | 31 | 1128 | CWS | GW | 02 | MCL | Arsenic | 07/01/2013 | 09/30/2013 | 5 |  | 0 | N | 1
VA6061150 | MARSH RUN MOBILE HOME PARK | 31 | 1128 | CWS | GW | 02 | MCL | Arsenic | 04/01/2013 | 06/30/2013 | 5 |  | 1 | N | 1
VA6061150 | MARSH RUN MOBILE HOME PARK | 31 | 1128 | CWS | GW | 02 | MCL | Arsenic | 01/01/2013 | 03/31/2013 | 5 |  | 1 | N | 1
VA6061150 | MARSH RUN MOBILE HOME PARK | 31 | 1128 | CWS | GW | 02 | MCL | Arsenic | 10/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Rads | 04/01/2013 | 06/30/2013 | 1 |  | 1 | N | 3
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Rads | 01/01/2012 | 12/31/2012 | 1 |  | 1 | N | 3
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Rads | 01/01/2011 | 12/31/2011 | 1 |  | 2 | N | 3
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Rads | 01/01/2010 | 12/31/2010 | 1 | 1 |  | N | 3
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Rads | 01/01/2009 | 12/31/2009 | 1 | 1 |  | N | 3
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Other IOC | 01/01/2013 | 12/31/2013 | 1 |  | 0 | N | 11
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Other IOC | 01/01/2012 | 12/31/2012 | 1 |  | 1 | N | 11
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Other IOC | 01/01/2011 | 12/31/2011 | 1 |  | 2 | N | 11
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Other IOC | 01/01/2008 | 12/31/2010 | 1 | 1 |  | N | 10
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Other IOC | 01/01/2002 | 12/31/2010 | 1 |  | 3 | N | 1
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Arsenic | 01/01/2013 | 12/31/2013 | 1 |  | 0 | N | 1
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Arsenic | 01/01/2012 | 12/31/2012 | 1 |  | 1 | N | 1
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Arsenic | 01/01/2011 | 12/31/2011 | 1 |  | 2 | N | 1
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | Arsenic | 01/01/2008 | 12/31/2010 | 1 | 1 |  | N | 1
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | VOC | 01/01/2013 | 12/31/2013 | 1 |  | 0 | N | 21
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | VOC | 01/01/2012 | 12/31/2012 | 1 |  | 1 | N | 21
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | VOC | 01/01/2011 | 12/31/2011 | 1 |  | 2 | N | 21
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | VOC | 01/01/2010 | 12/31/2010 | 1 | 1 |  | N | 21
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | VOC | 01/01/2009 | 12/31/2009 | 1 |  | 4 | N | 9
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 03 | MR | VOC | 01/01/2009 | 12/31/2009 | 1 | 1 |  | N | 12
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 12 | TT | St1 DBP | 11/13/2008 |  | 5 |  | 5 | N | 1
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 23 | MR | TCR | 03/01/2014 | 03/31/2014 | 1 |  | 0 | N | 1
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 23 | MR | TCR | 02/01/2014 | 02/28/2014 | 1 |  | 0 | N | 1
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 23 | MR | TCR | 01/01/2014 | 01/31/2014 | 1 |  | 0 | N | 1
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 23 | MR | TCR | 06/01/2013 | 06/30/2013 | 1 |  | 1 | N | 1
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 23 | MR | TCR | 05/01/2013 | 05/31/2013 | 1 |  | 1 | N | 1
VA2139017 | SHENANDOAH UTILITY SERVICES | 30 | 55 | CWS | GW | 23 | MR | TCR | 04/01/2013 | 04/30/2013 | 1 |  | 1 | N | 1
VA4115455 | CRICKET HILL APARTMENTS | 27 | 88 | CWS | GW | 02 | MCL | St1 DBP | 07/01/2013 | 09/30/2013 | 5 |  | 0 | N | 2
VA4115455 | CRICKET HILL APARTMENTS | 27 | 88 | CWS | GW | 02 | MCL | St1 DBP | 10/01/2012 | 12/31/2012 | 5 |  | 1 | N | 2
VA4115455 | CRICKET HILL APARTMENTS | 27 | 88 | CWS | GW | 02 | MCL | St1 DBP | 07/01/2012 | 09/30/2012 | 5 |  | 1 | N | 2
VA4115455 | CRICKET HILL APARTMENTS | 27 | 88 | CWS | GW | 02 | MCL | St1 DBP | 04/01/2012 | 06/30/2012 | 5 |  | 2 | N | 2
VA4115455 | CRICKET HILL APARTMENTS | 27 | 88 | CWS | GW | 22 | MCL | TCR | 03/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 71 | Other | CCR | 07/01/2012 |  | 1 | 1 |  | N | 1
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 71 | Other | CCR | 07/01/2011 |  | 1 | 1 |  | N | 1
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 71 | Other | CCR | 07/01/2010 |  | 1 | 1 |  | N | 1
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 75 | Other | PN rule | 09/06/2013 |  | 1 |  | 0 | N | 2
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 75 | Other | PN rule | 06/20/2013 |  | 1 |  | 1 | N | 2
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 75 | Other | PN rule | 02/14/2013 |  | 1 | 1 |  | N | 5
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 75 | Other | PN rule | 11/16/2012 |  | 1 | 1 |  | N | 1
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 75 | Other | PN rule | 03/15/2012 |  | 1 | 1 |  | N | 1
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 75 | Other | PN rule | 02/26/2011 |  | 1 |  | 3 | N | 2
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 75 | Other | PN rule | 08/29/2008 |  | 1 |  | 5 | N | 1
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | Rads | 01/01/2014 | 03/31/2014 | 1 |  | 0 | N | 3
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | Rads | 10/01/2013 | 12/31/2013 | 1 |  | 0 | N | 2
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | Rads | 07/01/2013 | 09/30/2013 | 1 |  | 0 | N | 2
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | Rads | 04/01/2013 | 06/30/2013 | 1 |  | 1 | N | 3
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | Rads | 01/01/2013 | 03/31/2013 | 1 | 1 |  | N | 1
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | Rads | 10/01/2012 | 12/31/2012 | 1 | 1 |  | N | 1
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | Rads | 04/01/2012 | 06/30/2012 | 1 | 1 |  | N | 3
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | Rads | 01/01/2012 | 03/31/2012 | 1 | 1 |  | N | 3
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | Rads | 10/01/2011 | 12/31/2011 | 1 | 1 |  | N | 1
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | Other IOC | 01/01/2013 | 12/31/2013 | 1 |  | 0 | N | 1
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | VOC | 01/01/2014 | 03/31/2014 | 1 |  | 0 | N | 21
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | VOC | 10/01/2013 | 12/31/2013 | 1 |  | 0 | N | 21
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | VOC | 07/01/2013 | 09/30/2013 | 1 |  | 0 | N | 21
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | VOC | 04/01/2013 | 06/30/2013 | 1 |  | 1 | N | 21
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | VOC | 01/01/2013 | 03/31/2013 | 1 | 1 |  | N | 21
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 03 | MR | VOC | 10/01/2012 | 12/31/2012 | 1 | 1 |  | N | 21
VA6047490 | BRENRIDGE SUBDIVISION | 24 | 175 | CWS | GW | 27 | MR | St1 DBP | 07/01/2013 | 09/30/2013 | 1 |  | 0 | N | 2
VA3810110 | CREEDS ELEMENTARY SCHOOL | 20 | 326 | NTNCWS | GW | 22 | MCL | TCR | 02/01/2014 | 02/28/2014 | 5 |  | 0 | Y | 1
VA3810110 | CREEDS ELEMENTARY SCHOOL | 20 | 326 | NTNCWS | GW | 22 | MCL | TCR | 10/01/2013 | 10/31/2013 | 5 |  | 0 | Y | 1
VA3810110 | CREEDS ELEMENTARY SCHOOL | 20 | 326 | NTNCWS | GW | 21 | MCL | TCR | 09/01/2013 | 09/30/2013 | 10 |  | 0 | Y | 1
VA2003175 | BURTON COURT APARTMENTS | 20 | 50 | CWS | GW | 02 | MCL | Nitrates | 01/01/2014 | 03/31/2014 | 10 |  | 0 | N | 1
VA2003175 | BURTON COURT APARTMENTS | 20 | 50 | CWS | GW | 02 | MCL | Nitrates | 10/01/2013 | 12/31/2013 | 10 |  | 0 | N | 1
VA6153630 | PADDOCKS OF NOKESVILLE | 17 | 25 | TNCWS | GW | 22 | MCL | TCR | 01/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA6153630 | PADDOCKS OF NOKESVILLE | 17 | 25 | TNCWS | GW | 23 | MR | TCR | 01/01/2014 | 01/31/2014 | 1 |  | 0 | N | 1
VA6153630 | PADDOCKS OF NOKESVILLE | 17 | 25 | TNCWS | GW | 22 | MCL | TCR | 10/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA6153630 | PADDOCKS OF NOKESVILLE | 17 | 25 | TNCWS | GW | 22 | MCL | TCR | 04/01/2013 | 06/30/2013 | 5 |  | 1 | N | 1
VA2003203 | CHARLOTTESVILLE MOOSE LODGE | 16 | 400 | TNCWS | GW | 75 | Other | PN rule | 02/11/2012 |  | 1 |  | 2 | N | 1
VA2003203 | CHARLOTTESVILLE MOOSE LODGE | 16 | 400 | TNCWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA2003203 | CHARLOTTESVILLE MOOSE LODGE | 16 | 400 | TNCWS | GW | 27 | MR | St1 DBP | 01/01/2014 | 03/31/2014 | 1 |  | 0 | N | 1
VA2003203 | CHARLOTTESVILLE MOOSE LODGE | 16 | 400 | TNCWS | GW | 34 | MR | GWR | 01/18/2014 |  | 1 |  | 0 | N | 1
VA2003203 | CHARLOTTESVILLE MOOSE LODGE | 16 | 400 | TNCWS | GW | 23 | MR | TCR | 02/01/2014 | 02/28/2014 | 1 |  | 0 | N | 1
VA2003203 | CHARLOTTESVILLE MOOSE LODGE | 16 | 400 | TNCWS | GW | 25 | MR | TCR | 01/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA6047374 | OUR FATHERS HOUSE | 15 | 51 | CWS | GW | 22 | MCL | TCR | 03/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA6047374 | OUR FATHERS HOUSE | 15 | 51 | CWS | GW | 22 | MCL | TCR | 01/01/2014 | 01/31/2014 | 5 |  | 0 | N | 1
VA6047374 | OUR FATHERS HOUSE | 15 | 51 | CWS | GW | 22 | MCL | TCR | 12/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA4036500 | MT ZION/RUSTIC AREA | 15 | 230 | CWS | GW | 45 | TT | GWR | 01/01/2014 |  | 5 |  | 0 | N | 1
VA4036500 | MT ZION/RUSTIC AREA | 15 | 230 | CWS | GW | 45 | TT | GWR | 09/01/2013 |  | 5 |  | 0 | N | 1
VA4036500 | MT ZION/RUSTIC AREA | 15 | 230 | CWS | GW | 45 | TT | GWR | 05/01/2013 |  | 5 |  | 0 | N | 1
VA6153480 | GAINESVILLE MINI LIBRARY | 14 | 300 | TNCWS | GW | 75 | Other | PN rule | 10/10/2011 |  | 1 |  | 2 | N | 1
VA6153480 | GAINESVILLE MINI LIBRARY | 14 | 300 | TNCWS | GW | 26 | MR | TCR | 03/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA6153480 | GAINESVILLE MINI LIBRARY | 14 | 300 | TNCWS | GW | 24 | MR | TCR | 03/01/2014 | 03/31/2014 | 1 |  | 0 | N | 1
VA6153480 | GAINESVILLE MINI LIBRARY | 14 | 300 | TNCWS | GW | 22 | MCL | TCR | 01/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA1155129 | COVEY`S FAMILY CAMPGROUND NO. 2 | 14 | 676 | TNCWS | GW | 75 | Other | PN rule | 01/16/2014 |  | 1 |  | 0 | N | 1
VA1155129 | COVEY`S FAMILY CAMPGROUND NO. 2 | 14 | 676 | TNCWS | GW | 75 | Other | PN rule | 05/02/2013 |  | 1 |  | 1 | N | 1
VA1155129 | COVEY`S FAMILY CAMPGROUND NO. 2 | 14 | 676 | TNCWS | GW | 75 | Other | PN rule | 10/19/2012 |  | 1 |  | 1 | N | 1
VA1155129 | COVEY`S FAMILY CAMPGROUND NO. 2 | 14 | 676 | TNCWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA1155129 | COVEY`S FAMILY CAMPGROUND NO. 2 | 14 | 676 | TNCWS | GW | 03 | MR | Nitrates | 01/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA4193525 | HARBOR VIEW MARINA | 13 | 60 | TNCWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA4193525 | HARBOR VIEW MARINA | 13 | 60 | TNCWS | GW | 03 | MR | Nitrates | 01/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA4193525 | HARBOR VIEW MARINA | 13 | 60 | TNCWS | GW | 23 | MR | TCR | 01/01/2014 | 03/31/2014 | 1 |  | 0 | N | 1
VA4193525 | HARBOR VIEW MARINA | 13 | 60 | TNCWS | GW | 23 | MR | TCR | 10/01/2013 | 12/31/2013 | 1 |  | 0 | N | 1
VA4103985 | WINDMILL POINT MARINA | 13 | 166 | TNCWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA4103985 | WINDMILL POINT MARINA | 13 | 166 | TNCWS | GW | 12 | TT | St1 DBP | 09/01/2013 |  | 5 |  | 0 | N | 1
VA4103985 | WINDMILL POINT MARINA | 13 | 166 | TNCWS | GW | 23 | MR | TCR | 01/01/2014 | 03/31/2014 | 1 |  | 0 | N | 1
VA4103985 | WINDMILL POINT MARINA | 13 | 166 | TNCWS | GW | 23 | MR | TCR | 10/01/2013 | 12/31/2013 | 1 |  | 0 | N | 1
VA4103985 | WINDMILL POINT MARINA | 13 | 166 | TNCWS | GW | 23 | MR | TCR | 07/01/2013 | 09/30/2013 | 1 |  | 0 | N | 1
VA5031650 | MASTER`S INN | 12 | 100 | TNCWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA5031650 | MASTER`S INN | 12 | 100 | TNCWS | GW | 03 | MR | Nitrates | 01/01/2012 | 12/31/2012 | 5 | 5 |  | N | 1
VA5031650 | MASTER`S INN | 12 | 100 | TNCWS | GW | 03 | MR | Nitrates | 01/01/2011 | 12/31/2011 | 5 | 5 |  | N | 1
VA5031650 | MASTER`S INN | 12 | 100 | TNCWS | GW | 23 | MR | TCR | 01/01/2014 | 03/31/2014 | 1 |  | 0 | N | 1
VA5031650 | MASTER`S INN | 12 | 100 | TNCWS | GW | 23 | MR | TCR | 12/01/2013 | 12/31/2013 | 1 |  | 0 | N | 1
VA5031650 | MASTER`S INN | 12 | 100 | TNCWS | GW | 22 | MCL | TCR | 10/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA5031650 | MASTER`S INN | 12 | 100 | TNCWS | GW | 23 | MR | TCR | 07/01/2013 | 09/30/2013 | 1 | 1 |  | N | 1
VA5031650 | MASTER`S INN | 12 | 100 | TNCWS | GW | 23 | MR | TCR | 04/01/2013 | 06/30/2013 | 1 | 1 |  | N | 1
VA5031650 | MASTER`S INN | 12 | 100 | TNCWS | GW | 23 | MR | TCR | 01/01/2013 | 03/31/2013 | 1 | 1 |  | N | 1
VA5031650 | MASTER`S INN | 12 | 100 | TNCWS | GW | 23 | MR | TCR | 10/01/2012 | 12/31/2012 | 1 | 1 |  | N | 1
VA6107200 | HILLSBORO, TOWN OF | 11 | 58 | CWS | GU | 32 | MR | LT2 ESWTR | 01/01/2010 |  | 1 |  | 0 | N | 1
VA6107200 | HILLSBORO, TOWN OF | 11 | 58 | CWS | GU | 42 | TT | SWTR | 04/08/2009 |  | 5 |  | 5 | N | 1
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 71 | Other | CCR | 07/01/2012 |  | 1 | 1 |  | N | 1
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 71 | Other | CCR | 07/01/2011 |  | 1 | 1 |  | N | 1
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 71 | Other | CCR | 07/01/2010 |  | 1 | 1 |  | N | 1
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 75 | Other | PN rule | 02/28/2014 |  | 1 |  | 0 | N | 6
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 75 | Other | PN rule | 07/02/2012 |  | 1 | 1 |  | N | 1
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 75 | Other | PN rule | 02/21/2012 |  | 1 | 1 |  | N | 2
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 75 | Other | PN rule | 12/29/2010 |  | 1 | 1 |  | N | 4
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 75 | Other | PN rule | 05/02/2010 |  | 1 | 1 |  | N | 2
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 75 | Other | PN rule | 02/21/2010 |  | 1 | 1 |  | N | 1
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 03 | MR | SOC | 01/01/2011 | 12/31/2011 | 1 | 1 |  | N | 1
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 03 | MR | VOC | 01/01/2014 | 03/31/2014 | 1 |  | 0 | N | 21
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 03 | MR | VOC | 10/01/2013 | 12/31/2013 | 1 |  | 0 | N | 21
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 03 | MR | VOC | 07/01/2013 | 09/30/2013 | 1 |  | 0 | N | 21
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 03 | MR | VOC | 04/01/2013 | 06/30/2013 | 1 |  | 1 | N | 21
VA6047255 | GLENDALE SUBDIVISION | 11 | 42 | CWS | GW | 03 | MR | VOC | 01/01/2013 | 03/31/2013 | 1 | 1 |  | N | 21
VA6033249 | FOUR WINDS CAMPING | 11 | 2065 | CWS | GW | 22 | MCL | TCR | 03/01/2014 | 03/31/2014 | 5 |  | 0 | N | 1
VA6033249 | FOUR WINDS CAMPING | 11 | 2065 | CWS | GW | 22 | MCL | TCR | 06/01/2013 | 06/30/2013 | 5 |  | 1 | N | 1
VA4127400 | THREE BROTHERS, LLC | 11 | 33 | TNCWS | GW | 75 | Other | PN rule | 11/16/2007 |  | 1 |  | 5 | N | 1
VA4127400 | THREE BROTHERS, LLC | 11 | 33 | TNCWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA4085920 | RHAPSODY | 11 | 63 | NTNCWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA4085920 | RHAPSODY | 11 | 63 | NTNCWS | GW | 03 | MR | Nitrates | 01/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA4085080 | BEREA BAPTIST CHURCH | 11 | 60 | NTNCWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | Y | 1
VA4085080 | BEREA BAPTIST CHURCH | 11 | 60 | NTNCWS | GW | 03 | MR | Nitrates | 01/01/2012 | 12/31/2012 | 5 |  | 1 | Y | 1
VA4075635 | PATTERSON WEST BUSINESS CENTER | 11 | 90 | NTNCWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA4075635 | PATTERSON WEST BUSINESS CENTER | 11 | 90 | NTNCWS | GW | 03 | MR | Nitrates | 01/01/2012 | 12/31/2012 | 5 |  | 1 | N | 1
VA3810507 | PUNGO PIZZA AND ICE CREAM | 11 | 50 | TNCWS | GW | 22 | MCL | TCR | 10/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA3810507 | PUNGO PIZZA AND ICE CREAM | 11 | 50 | TNCWS | GW | 22 | MCL | TCR | 04/01/2013 | 06/30/2013 | 5 |  | 1 | N | 1
VA3710050 | NORFOLK NAVAL BASE | 11 | 48300 | CWS | SWP | 22 | MCL | TCR | 10/01/2013 | 10/31/2013 | 5 |  | 0 | N | 1
VA3710050 | NORFOLK NAVAL BASE | 11 | 48300 | CWS | SWP | 22 | MCL | TCR | 07/01/2013 | 07/31/2013 | 5 |  | 1 | N | 1
VA2079590 | MOUNTAIN LAKES WATER COMPANY | 11 | 2114 | CWS | GW | 75 | Other | PN rule | 09/12/2013 |  | 1 |  | 0 | N | 1
VA2079590 | MOUNTAIN LAKES WATER COMPANY | 11 | 2114 | CWS | GW | 26 | MR | TCR | 02/01/2014 | 02/28/2014 | 5 |  | 0 | N | 1
VA2079590 | MOUNTAIN LAKES WATER COMPANY | 11 | 2114 | CWS | GW | 22 | MCL | TCR | 02/01/2014 | 02/28/2014 | 5 |  | 0 | N | 1
VA2065600 | PINE GROVE MOBILE HOME PARK | 11 | 79 | CWS | GW | 75 | Other | PN rule | 01/12/2014 |  | 1 |  | 0 | N | 1
VA2065600 | PINE GROVE MOBILE HOME PARK | 11 | 79 | CWS | GW | 12 | TT | St1 DBP | 07/11/2006 |  | 5 |  | 5 | N | 1
VA2043640 | MOUNTAIN VIEW MOTEL | 11 | 50 | TNCWS | GW | 03 | MR | Nitrates | 01/01/2013 | 12/31/2013 | 5 |  | 0 | N | 1
VA2043640 | MOUNTAIN VIEW MOTEL | 11 | 50 | TNCWS | GW | 23 | MR | TCR | 01/01/2014 | 03/31/2014 | 1 |  | 0 | N | 1
VA2043640 | MOUNTAIN VIEW MOTEL | 11 | 50 | TNCWS | GW | 23 | MR | TCR | 07/01/2013 | 09/30/2013 | 1 |  | 0 | N | 1
VA2043640 | MOUNTAIN VIEW MOTEL | 11 | 50 | TNCWS | GW | 23 | MR | TCR | 04/01/2013 | 06/30/2013 | 1 |  | 1 | N | 1
VA2043640 | MOUNTAIN VIEW MOTEL | 11 | 50 | TNCWS | GW | 23 | MR | TCR | 01/01/2013 | 03/31/2013 | 1 |  | 1 | N | 1
VA2043640 | MOUNTAIN VIEW MOTEL | 11 | 50 | TNCWS | GW | 23 | MR | TCR | 10/01/2012 | 12/31/2012 | 1 |  | 1 | N | 1

## Codes
Federally-reportable Violation Code Reference Sheet (last updated 2/2011)
VCode | VName | Vtype |  | Applicable rules and contaminant codes (CCodes)
1 | MCL, Single Sample | MCL |  |  |  |  | Rads 4000/ 06/ 10,4100*/ 01/02*/ 74*, 4264* | Nitrates 1038, 1040, 1041 | Other IOC 1005/ 10/ 15/ 20/ 24/ 25/ 35/ 36*/ 45/ 74/ 75/ 85/ 94 | Other VOC 2378/ 80, 2955/ 64/ 68/ 69/ 76/ 77/ 79/ 80/ 81/ 82/ 83/ 84/ 85/ 87/ 89/ 90/ 91/ 92/ 96 | SOC 2005/ 10/ 15/ 20/ 31/ 32/ 33/ 34/ 35/ 36/ 37/ 39/ 40/ 41/ 42/ 46/ 50/ 51/ 63/ 65/ 67, 2105/ 10, 2274/ 98, 2306/ 26/ 83/ 88/ 90/ 92/ 94/ 96/ 98, 2400, 2931/ 46/ 59 | x | TTHM pre-'02** 2941/ 42/ 43/ 44, 2950 | Coliform (Pre-TCR) 3000
2 | MCL, Average | MCL |  | DBP Stage 2 2456, 2950 |  | DBP Stage 1 1009, 1011, 2456, 2950
3 | Monitoring, Regular | MR
4 | Monitoring, Check/Repeat/Confirmation | MR
5 | Notification, State | Other |  | GW Rule 0700
6 | Notification, Public | Other | [10 empty] | * codes in red are required for monitoring only
7 | Treatment Techniques | TT |  | SOC 2257,2265
8 | Variance/Exemption/Other Compliance | Other | [10 empty] | ** No longer needs to be reported, only applicable until Dec 31, 2003
9 | Record Keeping | Other |  | FBR 0500 |  | IESWTR/LT1 0300 | GW Rule 0700
10 | Operations Report | Other
11 | Non-Acute MRDL | MRDL |  | DBP Stage 1 0999, 1006/ 1008
12 | Treatment Technique No Certif. Operator | TT |  | DBP Stage 1 0400
13 | Acute MRDL | MRDL |  | DBP Stage 1 1008 | [6 empty] | Violations counted in a fiscal year have a compliance period overlapping some part of that year.
19 | Monitoring, GWR Assessment Source Water | MR |  | GW Rule 3002, 3014,3028
20 | Failure to Respond/Consult with State | Other |  | GW Rule 0700
21 | MCL, Acute (TCR) | MCL |  | TCR 3100
22 | MCL, Monthly (TCR) | MCL | [8 empty] | 10 points* -- Acute violations are highlighted in Purple (including Nitrates MCLs)
23 | Monitoring, Routine Major (TCR) | MR
24 | Monitoring, Routine Minor (TCR) | MR | [8 empty] | 5 points* -- Other health-based violations (Vtype = MCL, MRDL, TT), plus TCR MR Repeats, are in Yellow. Nitrates MRs are also 5 points
25 | Monitoring, Repeat Major (TCR) | MR
26 | Monitoring, Repeat Minor (TCR) | MR
27 | Monitoring and Reporting Stage 1 | MR |  | DBP Stage 1 0400, 0999, 1006/ 08/ 09/ 11, 2456, 2920, 2950 |  |  | DBP Stage 2 2456, 2950 |  |  |  | 1 point* -- violations include all MR and Other Vtypes
28 | Sanitary Survey (TCR) | Other |  | TCR - No Code |  | GW Rule 0700
29 | M&R Filter Profile/CPE Failure | MR |  | IESWTR/LT1 0300
30 | Failure to submit monitoring plan or collect monitoring data (DBP2) | MR | x | DBP Stage 2 0600, 2456, 2950 | [6 empty] | * Note that for puroposes of assigning "ETT Points", the Enforcement Targeting Tool, groups violations at a PWS under the same rule, with the same compliance period begin date and end date and violation code. For example, if a system fails to monitor for the entire group of 21 Volatile Organic Contaminants, 1 point is assigned for the entire VOC group, instead of a point for each contaminant. Other examples of contaminants that could be grouped include: Stage 1 TTHM and HAA5 M/R; Radium Gross Alpha and Combined Radium MCL, IOC M/R, SOC M/R, etc. Note that this methodology will also "group" like violations that occur at multple entry points.
31 | Monitoring (UNFILTERED), Routine/Repeat (SWTR-Unfilt and GWR-Unfiltered) - Major & Minor | MR |  | SWTR 0200 |  | GW Rule 0700
32 | Failure to submit source water monitoring plan (LT2/GWR) and Failure to conduct source water monitoring | MR |  | LT2ESWTR 0100, 0800, 3014, 3015
33 | Failure to submit Bin Determination Report | TT |  | LT2ESWTR 0800
34 | Source Monitoring, M&R (GWR) | MR |  | GW Rule 0700, 3002, 3014, 3028
35 | Failure to Submit Stage 2 DBPR Report (DPB2) | MR | x | DBP Stage 2 0600, 2456,2950
36 | Monitoring, Routine/Repeat (SWTR-Filter) - Major & Minor | MR |  | SWTR 0200
37 | Treatment Technique State Prior Approval | TT, except MR for 0800 |  | IESWTR/LT1 0300 | x | DBP Stage 1 0400 | LT2ESWTR 0800
38 | M&R Filter Turbidity Reporting | MR
39 | M&R (FBRR) | MR |  | FBR 0500
40 | Treatment Technique (FBRR) | TT
41 | Failure to Maintain Microbial Treatment | TT |  | SWTR 0200 |  | LT2ESWTR 0800 | GW Rule 0700
42 | Failure to Filter (SWTR)/ Failure to Provide Treatment (LT2) | TT |  |  |  | LT2ESWTR 0800 | GW Rule 0700
43 | Treatment Technique Exceeds Turb 1 NTU | TT |  | IESWTR/LT1 0300
44 | Treatment Technique Exceeds Turb 0.3 NTU | TT
45 | Failure to Address Deficiency | TT |  | IESWTR/LT1 0300 |  | LT2ESWTR 0800 | GW Rule 0700
46 | Treatment Technique Precursor Removal | TT |  | DBP Stage 1 2920
47 | Treatment Technique Uncovered Reservoir | TT |  | IESWTR/LT1 0300 |  | LT2ESWTR 0800
48 | Failure to Address Contamination (GWR) | TT |  | GW Rule 0700
51 | Initial Tap Sampling for Pb and Cu | MR |  | LCR 5000
52 | Follow-up and Routine Tap Sampling | MR
53 | Initial Water Quality Parameter WQP M&R | MR
56 | Initial, Follow-up, or Routine SOWT M&R | MR
57 | OCCT Study Recommendation | TT
58 | OCCT Installation/Demonstration | TT
59 | WQP Entry Point Non-Compliance | TT
63 | MPL Non-Compliance | TT |  | LCR 1022,1030
64 | Lead Service Line Replacement (LSLR) | TT |  | LCR 5000
65 | Public Education | TT
66 | Lead Consumer Notification | MR |  | LCR-STR 5000
71 | CCR Complete Failure to Report | Other |  | CCR 7000
72 | CCR INADEQUATE REPORTING | Other
73 | Failure to Notify Other PWS (GWR) | Other |  | GW Rule 0700
75 | PN Violation for NPDWR Violation | Other |  | PN 7500
76 | Other Non-NPDWR Potential Health Risks | Other