ATMOSPHERIC STORAGE TANK MIXER AND AERATION REVIEW SHEET

	Project Name:
	     
	PTLog #:
	     

	Waterworks Name:
	     
	PWSID #
	     

	Reviewed By:
	     
	Date:
	     


For simple tank retrofit projects of common manufactured tank aeration spray equipment and tank mixing equipment, plan review and approval will be minimally sufficient to ensure the proposed design meets the requirements of Part III of the Waterworks Regulations. 
	Type of tank:
	     

	Nominal volume:
	     gal

	Openings into tank properly designed to be watertight?
	 FORMCHECKBOX 
 Yes    FORMCHECKBOX 
 No

	System is ANSI/NSF Std 61 certified

	 FORMCHECKBOX 
 Yes    FORMCHECKBOX 
 No 

	Mechanical/electrical tank mixing system

	· Model/brand
	     

	· Mixer description 
	     

	· Mixer capacity
	     

	· Control system description
	     

	Passive tank mixing system

	· Model/brand
	     

	· Mixer description

	     

	· Mixing calculations provided
 ? 
	 FORMCHECKBOX 
 Yes    FORMCHECKBOX 
 No

	Tank aeration system

	· Model/brand
	     

	· Spray motor description & capacity
	     

	· Nozzle type
	     

	· Ventilation system details
 
	     

	· Control system description
	     

	Tank disinfection and sampling

	· Disinfection method 
	     

	· Bacteriological sampling frequency
	     


Comments:      
� Or constructed of materials and equipment that is ANSI/NSF Standard 61 or 372 listed


� Include inlet/outlet configuration, valves, etc.


� Amount of fill/drawdown required for adequate mixing should be included. 


� Fan size, air filter, location, etc





Page 1 of 1

