VDH – ODW Waterworks Asset Management Plan Checklist

| Waterworks: | PWSID#: |  |  |
| --- | --- | --- | --- |
| Reviewed By: | Review Date: |  |  |
| AMP Date: | Required Items in AMP? |  | Yes No |
| Comments: |  |  |  |
| Inventory of existing assets/infrastructure: |  | Required? | Included in AMP |
| Sources [1] |  |  | Yes No N/A |
| Water treatment plant [1] |  |  | Yes No N/A |
| Storage [1] |  |  | Yes No N/A |
| Distribution pipes |  |  | Yes No N/A |
| Fleet/Heavy equipment |  |  | Yes No N/A |
| Pumps/pump stations [1] |  |  | Yes No N/A |
| Distribution equipment (hydrants, valves, ARVs, BOVs, zone meters, etc.) |  |  | Yes No N/A |
| Distribution – customer meters |  |  | Yes No N/A |
| Other buildings/property |  |  | Yes No N/A |
| Miscellaneous tools/Shop equipment |  |  | Yes No N/A |
| Inventory includes: |  |  |  |
| Description of asset (including model # and serial # if known) |  |  | Yes No |
| Geographical location or mapped representation of location of asset |  |  | Yes No |
| Material type |  |  | Yes No |
| Year installed/purchased or approximate age of asset |  |  | Yes No |
| Estimated useful life of infrastructure/equipment in years |  |  | Yes No |
| Remaining life of asset in years |  |  | Yes No |
| Condition of asset (Rank 1-4, 4 is the worst condition) [2] |  |  | Yes No |
| Criticality of asset - (Rank 1-4, 4 is most critical) [3] |  |  | Yes No |
| Quantity (linear feet of pipe, number of water meters, etc.) |  |  | Yes No |
| Replacement cost (unit price including installation and construction expenses) |  |  | Yes No |
| Total replacement cost |  |  | Yes No |
| Project Priorities based on the AMP |  |  |  |
| Project list |  |  | Yes No |
| Priority of project or year the project is needed |  |  | Yes No |
| Cost of project (Estimate based on the asset management plan) |  |  | Yes No |
| Other: |  |  |  |
| Preventative Maintenance addressed by asset management plan? [4] |  |  | Yes No |
| Level of Service addressed by asset management plan? |  |  | Yes No |

[1] Include all major assets at these facilities, such as but not limited to: each treatment component, lab equipment, chemical feed systems, pumps, tanks, generators, SCADA/telemetry, computer systems, replacement inventory, etc.

[2] Identification of Condition 4 assets, which are the assets in the worst condition, is required. Identification of Condition 1-3 assets is optional.

[3] “Critical Assets” are those assets most susceptible to failure, whose failure will result in significant downtime and loss/interruption of service. The scale recommended includes a rank of 1-4, with a rank of 4 being the highest risk and greatest consequence of failure and a rank of 1 being the least.  Identification of Criticality 4 assets with is required. Identification of Criticality 1-3 assets is optional.

[4] Suggested reference: EPA Preventative maintenance logs from https://www.epa.gov/dwcapacity/electronic-preventive-maintenance-logs.