Lead Service Line Replacement Plan

Waterworks NAME

(PWSID NUMBER) VA#######

| 1. Contact Information |  |
| --- | --- |
| Waterworks Administrative contact: |  |
| Name: | Title: |
| Phone: | Email: |
| Lead Service Line Replacement Plan contact: |  |
| Name: | Title: |
| Phone: | Email: |
| I have verified and certify the information listed in this Plan is true and accurate to the best of my knowledge and belief: |  |
| Signature: | Date: |

2. General Water System Information

| Waterworks Name: | PWSID: |
| --- | --- |
| Total Number of Service Connections: |  |
| Number of Lead Service Lines: |  |
| Number of Lead Status Unknown Service Lines: |  |
| Number of Galvanized Requiring Replacement Service Lines: |  |
| Number of Non-lead Service Lines: |  |
| Total Population Served: |  |

This template meets the requirements for a lead service line replacement plan in accordance with 40 CFR § 141.84 (c) and the Lead and Copper Rule Improvements. The Lead and Copper Rule Improvements requires waterworks with one or more lead, galvanized requiring replacement, or lead status unknown service lines to create a service line replacement plan by November 1, 2027, make the plan publicly available, and submit it to the Virginia Department of Health, Office of Drinking Water (VDH ODW). VDH ODW recommends that community waterworks and nontransient noncommunity (NTNC) waterworks prepare a lead service line replacement plan in advance of this deadline. The purpose of the plan is to prepare the waterworks for the eventuality that a lead service line will need replacement, even if the replacement is not planned or scheduled.

Updates must be submitted to VDH ODW annually unless there is no new or updated information to include, in which case a waterworks can certify that the plan has no updates in lieu resubmission. This plan should be updated when new information becomes available regarding the replacements, identification of lead service lines, changing priorities, contract expirations, or changes in staff.

3. Service Line Inventory Development and Maintenance

3a. Strategy for identifying the material composition of lead status unknown service lines in the service line inventory (40 CFR 141.84(c)(1)(i)) Check all applicable boxes.

☐ We do not have service lines of unknown material within our water system’s service area

Type of Review

☐ Building and plumbing codes

☐ County and municipal ordinances

☐ Virginia Lead Chronology (posted on ODW’s website)

☐ Historical building records and permits on each service connection

☐ Distribution system maps and record drawings

☐ Most recent approved LCR material survey

☐ Ongoing updating of service line materials during normal operations

☐ Capital improvement plans and/or master plans for distribution system development

☐ Utility records including meter installation records, customer complaint investigations and field activity records

☐ Utility construction standards, standard details, and standard operating procedures

☐ Other documentation which indicates and/or confirms the location of lead service lines: description of documentation

☐ Community survey

☐ Contacts within the water system, municipal office, or other local officials

☐ Survey results from area plumbers

☐ Documented interviews of residents - letters, phone survey, personal contact, etc.

☐ Visual inspection

☐ Customer self-identification

☐ CCTV Inspection

☐ Scratch Test

☐ Lead solder test

☐ Excavation – Vacuum

☐ Excavation – Mechanical

☐ Water quality sampling (specify protocol)

☐ Statistical methods (requires VDH ODW Field Office Approval)

☐ Predictive modeling (requires VDH ODW Field Office Approval)

☐ Other: (describe)

3b. For any water system that identifies any lead-lined galvanized service lines in the service line inventory as described in paragraphs (a) and (b) of this section, a strategy to determine the extent of the use of lead-lined galvanized service lines in the distribution system and categorize any lead-lined galvanized service lines as lead (40 CFR 141.84(c)(1)(ix)). Note that a lead-lined galvanized line is not the same as a galvanized requiring replacement (GRR) service line. Lead-lined galvanized lines are galvanized lines originally manufactured with a fused lead lining. Check all applicable boxes.

☐ We do not have any lead-lined galvanized service lines service lines within our water system’s service area. This requirement is not applicable to this waterworks. ☐ We have lead-lined galvanized service lines service lines within our water system’s service area. We will classify lead-lined galvanized service lines as lead. Our strategy to determine the extent of lead-lined galvanized service lines is as follows:

| 4. Replacement Schedule Development and Replacement Considerations |  |
| --- | --- |
| 4a. Methods used to identify the prioritization of lead service line replacements A strategy to prioritize service line replacement based on factors including, but not limited to, known lead and galvanized requiring replacement service lines and community-specific factors, such as populations disproportionately impacted by lead and populations most sensitive to the effects of lead. (40 CFR § 141.84(c)(1)(v)) Infants, young children, and pregnant women are the most vulnerable to lead exposure. Use numbers to indicate the level of priority, with “1” being the highest priority. Indicate items not used with “NA”. |  |
| __ Disadvantaged consumers __ Known lead service lines __ Sensitive populations __ Proximity to high lead results __ Previous partial replacement __ Areas that receive many water quality complaints __ Overburdened Communities __ Licensed childcare centers __ Areas with no service lines of unknown material __ Areas where all service lines are of unknown material __ Areas where pipe replacements are already being conducted __ Previous participation in PbCu sampling __ Areas with high density of children | __ Age of current water main __ Proximity to other known contaminants __ System pressure grade line __ Ownership __ LSLs close to interconnections with a wholesaler which utilizes corrosion control treatment __ Areas of source water or treatment changes __ Areas where all residents have agreed to participate in the program __ Service lines containing lead only on the water system side __ Service lines containing lead only on the property owner side __ Predictive modeling results |

4b. Explanation of how the system is prioritizing replacement locations using the methods identified above and how the schedule will be implemented. Example: The prioritization of the replacements is focused on identifying areas with sensitive populations such as daycares and preschools. Past sampling events have shown that these areas also have high lead results. By focusing replacement on these areas first, we are addressing the areas where lead contamination has the most adverse impacts on the health of those who drink the water.

| 4c. Coordination with Property Owners |  |  |  |
| --- | --- | --- | --- |
| What portion of the service line is owned by the waterworks? | ☐ The waterworks owns the entire service line (main to house) | ☐ The waterworks owns a portion of the service line (main to curb stop or meter) | ☐ The waterworks does not own any portion of the service line |
| If the waterworks does not own the entire service line, will the community create an ordinance which mandates the replacement of all lead service lines? ☐ Yes ☐ No |  |  |  |
| How will the system conduct public outreach regarding its lead service line replacement program? Provide links to all publicly available materials. |  |  |  |
| How will the system solicit property owner/customer’s approval to replace lead service lines? |  |  |  |
| Provide a summary of any legal requirements or anticipated obstacles. For example: prior to replacing the property-owner portion of a lead service line, a contract between the water system, contractor and property-owner must be signed and executed. |  |  |  |
| In the event of a property owner/customer’s refusal to replace the service line the water system will: ☐ Document the incident. ☐ Continue to contact the property owner/customer each year for participation and continue to document all outreach efforts. ☐ When applicable, inform the property owner/customer refused to replace their portion of the lead service line; and therefore, the lead service line in its entirety must remain. |  |  |  |

4d. Emergency Replacement

What steps will the water system take in the event an emergency replacement is necessary? ☐ By having materials, staff resources, and procedures in place to replace the service line. ☐ By replacing the line as part of the emergency repair. ☐ By documenting the service line materials if they are made known and replacing at a later date.

5. Funding Strategy

5. Funding strategy for conducting service line replacement. Where the water system intends to charge customers for the cost to replace all or a portion of the service line because it is authorized or required to do so under State or local law or water tariff agreement, the funding strategy must include a description of whether and how the water system intends to assist customers who are unable to pay to replace the portion of the service line they own. (40 CFR § 141.84(c)(1)(vi))

How will replacements be funded? Is funding for replacements in-place and available now? Will the property owner be responsible for a portion of the replacement cost? ☐ Yes ☐ No If yes, what amount? How will the utility address customer owned portions of service lines that are owned by customers who are unable to pay to replace the portion they own?

6. Standard operating procedures for conducting full LSL replacement

(40 CFR § 141.84(c)(1)(ii))

☐ We will comply with ANSI/AWWA C810-17 Replacement and Flushing of Lead Service Lines. ☐ We will use alternative procedures, attached in Appendix C.

7. Communications Strategy

7a. A communication strategy to inform residential and non-residential customers and consumers (e.g., property owners, renters, and tenants) served by the water system about the service line replacement plan and program; (40 CFR § 141.84(c)(1)(vii))

☐ We will notify residential and non-residential customers and consumers (e.g., property owners, renters, and tenants) about the service line replacement plan and program. (40 CFR § 141.84(c)(1)(vii)) ☐ Communication Strategy (describe):

7b. A communication strategy to inform consumers (i.e., persons served at the service connection) and customers before a full or partial lead or galvanized requiring replacement service line replacement consistent with the requirements for notification and mitigation (40 CFR § 141.84(c)(1)(iii))

☐ We will notify residential and non-residential customers and consumers of plans to conduct partial service line replacement at least 45 days in advance and 30 days in advance for planned, non-emergency full service line replacement (40 CFR § 141.84(h)): ☐ Using Template 5. ☐ Using our own template (attached in Appendix D). ☐ We will use ODW template letters for the following notifications: ☐ We will use our own template letters for the following notifications (attached in Appendix D): ☐ Public Education. ☐ Lead Risk Mitigation. ☐ Annual notifications of LSLs – each year customers who still have an LSL must receive a notification. ☐ Annual notifications of galvanized requiring replacement service lines – required every year. ☐ Annual notifications of service lines with unknown materials – required every year. ☐ Notification of lead or potential lead service lines, unknown material service lines – required upon initiating water service.

8. Laws and Regulations and Agreements

(40 CFR § 141.84(c)(1)(viii))

Identify any laws, regulations, and/or water tariff agreements that affect the water system’s ability to gain access to conduct full lead and galvanized requiring replacement service line replacement, including the citation to the specific laws, regulations, or water tariff agreement provisions. This includes identification of any laws, regulations, and/or water tariff agreements that require customer consent and/or require or authorize customer cost-sharing.

| 9. Lead Risk Mitigation Procedures |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 40CFR141.84(h) |  |  |  |  |  |
| Event | Pitcher Filter or POU Device | Offer to a Follow-up lead tap sample | Flushing Instructions 40CFR141.84(c) (1)(iv) | Consumer Notification Template | Public Education |
| Full LSL Replacement | Yes | Yes | Yes | Template 1 | Yes |
| Planned Partial LSL Replacement | Yes | Yes | Yes | Template 1 | Yes |
| Emergency LSL Replacement | Yes | Yes | Yes | Template 1 | Yes |
| Customer notifies utility of intent to replace LSL in advance | Yes | No | Yes | Template 4 | Yes |
| Customer notifies utility of LSL replacement after completion | Yes | No | Yes | Template 4 | Yes |
| Disturbance of a LSL, GSR or Unknown Service Line | No | No | Yes | Template 2 | No |
| Disturbance of a LSL, GSR or Unknown Service Line from replacement of a water meter, meter setter, gooseneck, pigtail or connector | Yes | No | Yes | Template 3 | Yes |
| Replacement of lead connectors connected to a lead or GRR | Yes | No | Yes | Template 3 | Yes |

Pitcher or Filter Requirements – The waterworks must provide the consumer with a pitcher filter or point-of-use device certified by an American National Standards Institute (ANSI) accredited certifier to reduce lead, six months of replacement cartridges, and instructions for use before the affected service line is returned to service. If the affected service line serves more than one residence or non-residential building (e.g., a multi-unit building), the waterworks must provide a filter, six months of replacement cartridges and use instructions to every residence in the building.

Sample Requirements – The waterworks must offer to collect a follow-up tap sample between three months and six months after completion of a full or partial LSL replacement. The waterworks must provide the results of the sample to the customer as soon as practicable, but no later than 3 calendar days after the waterworks learns of the tap monitoring results.

Flushing Instructions – The waterworks must provide information about service line flushing before the affected service line is returned to service. These instructions are for the customer to flush the service line and premise plumbing of particulate lead.

Consumer Notification Templates -The waterworks must notify customers of the risk of elevated lead levels, provide public education materials, and provide flushing instructions before returning a service line to service following a replacement or disturbance. The templates address the required elements.

10. Deferred Deadline for Lead Service Line Replacement (40 CFR § 141.84(c)(1)(x))

☐ The waterworks does not request a deferred deadline for LSL replacement. This section is not applicable. ☐ The waterworks requests a deferred deadline for lead service line replacement. A waterworks may determine that it is eligible for a deferred deadline, showing that 10 percent of the total number of known lead and galvanized requiring replacement service lines in the replacement pool exceeds 39 annual replacements per 1,000 service connections. Refer to (40 CFR § 141.84(d)(5)(vi)))

☐ Documentation to support a deferred deadline for lead service line replacement. 40 CFR141.84(c)(1)(x)(A) Deferred deadline calculation: Total number of lead service lines + GRR service lines = total service lines in the replacement pool. _______ + ________ = ________ service lines in replacement pool. Divide total service lines in replacement pool by 10 years. ________ service lines ÷ 10 years = ________ annual replacements Annual replacements ÷ total service connections x 1000 = annual replacements per 1,000 service connections ________ annual replacements ÷ ________ total service connections x 1,000 = ________ annual replacements per 1,000 connections Deferred Deadline is applicable if the replacement rate exceeds 39 annual replacements per 1,000 service connections.

☐ Calculate the deferred deadline 40 CFR141.84(c)(1)(x)(B) Minimum required replacement rate = total service connections * 0.039 annual replacements/service connection Minimum required replacement rate = ________ * 0.039 = ________ annual replacements Time needed = service lines in replacement pool ÷ annual replacements = years Time needed = _______ service lines in replacement pool ÷ _________ annual replacements = ________ years Annual number of replacements: _______ Length of time to complete replacements (years and months): ________ Date of completion deadline: ________

☐ Information supporting the waterworks’ determination that replacing lead and galvanized requiring replacement by an earlier date and faster rate than provided under the deferred deadline is not feasible 40 CFR141.84(c)(1)(x)(A):

11. Public Accessibility (40 CFR 141.84(c)(2))

☐ Waterworks serves greater than 50,000 persons. The plan is available to the public online. ☐ Waterworks serves less than or equal to 50,000 persons. The plan is available to the public. Describe: ☐ Online URL:

12. Initial Plan and Plan Updates (40 CFR § 141.84(c)(3))

Waterworks must annually update the service line replacement plan to include any new or updated information and submit the updates to the State on an annual basis. ☐ This is the initial service line replacement plan due to VDH ODW by the compliance date of November 1, 2027. ☐ This is initial service line replacement plan annual update dated: __________. ☐ This annual update includes updates to the deferred deadline information. - Submit annual updates by January 30 after the end of the first program year and annually thereafter or certify to VDH ODW that there have been no updates. - If there is no new or updated information to include in the service line replacement plan and the waterworks is replacing service lines in accordance with a deferred deadline, every three years after the initial submission of the plan, the waterworks must update the information supporting why the waterworks continues to need the deferred deadline and resubmit the plan to VDH ODW.

13. APPENDIX Check all that apply and are enclosed

☐ Appendix A: Flushing by the utility immediately after lead service line replacement

☐ Appendix B: Instructions for customer flushing following a lead service line replacement (40 CFR § 141.84(b)(5))

☐ Appendix C: Replacement of lead service lines (If provided by water utility)

☐ Appendix D: Consumer notification templates

☐ Appendix E: Notification templates (If developed by water utility)

# Appendix A

# Flushing by the utility immediately after lead service line replacement

After all connections have been completed, the utility will flush the water from an outside connection (such as hose-bib or hose leading from the house side of the meter installation) to remove any particles in the service line and near point-of-entry. The flushing is best done, if possible and practical, before the meter is connected in the service using a "jumper" or straight pipe in place of the meter. The straight pipe will allow for a higher velocity flush and protects the meter from potential damage from lead pipe and other construction-related fragments. Flush at full velocity for at least 10 minutes. If the meter was replaced with a "jumper," it may be reconnected in the service after utility flushing. Following completion of flushing by the utility, the customer shall flush the interior premise plumbing as described in Appendix B.

Before the service line is returned to service, the water utility provides a copy of Appendix B, Instructions for Customer Flushing.

# Appendix B

# Instructions for Customer Flushing

# Following a full or partial lead service line replacement

# Following a disturbance of a lead, galvanized requiring replacement, or lead status unknown service line

# 40CFR141.84(c) (1) (iv)

After a service line is replaced, or there is a disturbance, the customer should flush all interior premise plumbing before using the water again.  Subsequent flushing by the customer should be done once every two weeks for three months or at other intervals based on monitoring results if available. Utilities may want to encourage best times to flush based on water demand and operations (for example, when neighbors' water usage is low, e.g., midmorning to dinner time or late at night). Customers shall be advised to not use hot water in the premise plumbing until initial flushing is completed to prevent sedimentation of lead particles in premise hot water tanks.

## Instructions for customers.

- Find all the faucets that will drain, including the basement and all floors in your house.

- Remove aerators and screens whenever possible, including the shower heads, from all faucets you plan to flush.

- Include the laundry tubs, outdoor hose-bibs, bathtubs, and showers as flushing points.

- After all the aerators are removed, open the faucets in the basement or lowest floor in the house. Leave all faucets running at highest rate possible, using cold water.

- After the faucets are all open in lowest floor, open the faucets on next highest floor of the house. Continue until faucets are open on all floors.

- After all faucets are opened, leave the water running for at least 30 minutes.

- After 30 minutes, turn off the first faucet you opened and continue to turn off other faucets in the same order you turned them on.

- Clean aerators/screens at each faucet. You may need to replace aerators/screens if too old or worn. To clean aerators, cover the drain in your sink to prevent any aerator parts from falling into the drain, then unscrew the aerator and separate each part.  Remove any small particles on the screen, soak the parts in white vinegar for a few minutes, and scrub the parts with a brush. After cleaning, put the aerator parts back together and screw the aerator back onto the faucet.

# Consumer Notice Template 1

# Full or Partial Lead Service Line Replacement

We completed a replacement, and we are required to provide this information.

[Name of Waterworks]

[Name and phone number for point of contact]

Following a service line replacement, consumers may experience a temporary increase in lead levels in their drinking water.

## Flush your service line prior to use

After a service line is replaced, the customer should flush all interior premise plumbing before using the water again.  Subsequent flushing should be done once every two weeks for three months or at other intervals based on monitoring results if available. Do not use hot water in the premise plumbing until initial flushing is completed to prevent sedimentation of lead particles in premise hot water tanks.

## Instructions for customer flushing:

- Find all the faucets that will drain, including in the basement and on all floors in your house.

- Remove aerators and screens whenever possible, including the shower heads, from all faucets you plan to flush.

- Include the laundry tubs, hose-bibs, bathtubs, and showers as flushing points.

- After all the aerators are removed, open the faucets in the basement or lowest floor in the house. Leave all faucets running at highest rate possible, using cold water.

- After the faucets are all open in lowest floor, open the faucets on next highest floor of the house. Continue until faucets are open on all floors.

- After all faucets are opened, leave the water running for at least 30 minutes.

- After 30 minutes, turn off the first faucet you opened and continue to turn off other faucets in the same order you turned them on.

- Clean aerators/screens at each faucet. You may need to replace aerators/screens if too old or worn. To clean aerators, cover the drain in your sink to prevent any aerator parts from falling into the drain, then unscrew the aerator and separate each part.  Remove any small particles on the screen, soak the parts in white vinegar for a few minutes, and scrub the parts with a brush. After cleaning, put the aerator parts back together and screw the aerator back onto the faucet.

## Filters

We are required to provide consumers with a pitcher filter or point-of-use device certified by an American National Standards Institute (ANSI) accredited certifier to reduce lead, six months of replacement cartridges and instructions for use.

## Health effects of lead

There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks.

# Sources of lead

Lead is a common metal that has been in many consumer products but is now known to be harmful to human health if ingested or inhaled. It can be found in lead-based paint, air, soil, household dust, food, some types of pottery, and drinking water. Lead is rarely found in natural sources of water such as rivers, lakes, wells, or springs.

Your home or building plumbing materials, service lines, and connectors may contain lead. Water in contact with lead-containing plumbing materials may pick up lead. On June 19, 1986, Congress amended the Safe Drinking Water Act, prohibiting the use of pipes, solder or flux that were not “lead free” in public water systems or plumbing in facilities providing water for human consumption. At the time "lead free” was defined as solder and flux with no more than 0.2% lead and pipes with no more than 8% lead. On January 4, 2011, Congress amended the Safe Drinking Water Act to change the definition of “lead free” from 8% to 0.25% for pipes, pipe fittings, and components, based on a weighted average of the wetted surfaces.

The EPA has determined that lead levels may vary and therefore lead exposure is possible even when tap sampling results do not detect lead at one point in time.

# Steps you can take to reduce exposure to lead in drinking water:

- Use your filter properly. Using a filter can reduce lead in drinking water. If you use a filter, it should be certified to remove lead. Read any directions provided with the filter to learn how to properly install, maintain, and use your cartridge and when to replace it. Contact us at the number above to obtain a filter or replacement cartridges.

- Run your water before use. Daily, allow the water to run at the tap for 5 minutes to flush water through the service line and plumbing in the house before using it for drinking or cooking. Taking a shower, running the dishwasher, or flushing the toilet will also flush your lines.

- Use cold water for drinking, cooking, and preparing baby formula. Do not cook with or drink water from the hot water tap as lead dissolves more easily into hot water. Do not use water from the hot water tap to make baby formula.

- Do not boil water to remove lead. Boiling water does not remove lead.

- Clean your aerator. Regularly clean your faucet’s screen (also known as an aerator). Sediment, debris, and lead particles can collect in your aerator. If lead particles are caught in the aerator, lead can get into your water.

- Identify and replace plumbing fixtures containing lead and any copper piping with lead solder.

- Check home wiring. Water service lines are sometimes used to ground electrical lines. The wiring in your home or building may be attached to your water service line or elsewhere in your plumbing. If you have a lead service line, this can accelerate its corrosion. Have a licensed electrician check your wiring.

- Get your child tested. Contact your local health department or healthcare provider to find out how you can get your child’s blood tested for lead if you are concerned about exposure.

- Test your water. Waterworks must offer to sample for lead of any person served by a lead service line, following replacement. Contact us at the number above to learn how to get your water tested.

# Consumer Notice 2

# Disturbance to a Known or Potential Service Line Containing Lead

## There was a disturbance to your service line

## [Name of Waterworks]

## [Name and phone number for point of contact]

## Potential for elevated lead levels in drinking water.

Following a disturbance to your service line, such as operating a valve on a service line or meter setter, or reconnect a service line to the main, or other actions that cause a disturbance to a service line, such as undergoing physical action or vibration, there is potential for elevated lead levels in your drinking water. Please review the following information.

Flush your service line prior to use.

After a disturbance, the customer should flush all interior premise plumbing before using the water again.  Do not use hot water in the premise plumbing until initial flushing is completed to prevent sedimentation of lead particles in premise hot water tanks.

Instructions for customer flushing:

- Find all the faucets that will drain, including the basement and all floors in your house.

- Remove aerators and screens whenever possible, including the shower heads, from all faucets you plan to flush.

- Include the laundry tubs, hose-bibs, bathtubs, and showers as flushing points.

- After all the aerators are removed, open the faucets in the basement or lowest floor in the house. Leave all faucets running at highest rate possible, using cold water.

- After the faucets are all open in lowest floor, open the faucets on next highest floor of the house. Continue until faucets are open on all floors.

- After all faucets are opened, leave the water running for at least 30 minutes.

- After 30 minutes, turn off the first faucet you opened and continue to turn off other faucets in the same order you turned them on.

- Clean aerators/screens at each faucet. You may need to replace aerators/screens if too old or worn. To clean aerators, cover the drain in your sink to prevent any aerator parts from falling into the drain, then unscrew the aerator and separate each part.  Remove any small particles on the screen, soak the parts in white vinegar for a few minutes, and scrub the parts with a brush. After cleaning, put the aerator parts back together and screw the aerator back onto the faucet.

## Health effects of lead

There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks.

# Sources of lead

Lead is a common metal that has been in many consumer products but is now known to be harmful to human health if ingested or inhaled. It can be found in lead-based paint, air, soil, household dust, food, some types of pottery, and drinking water. Lead is rarely found in natural sources of water such as rivers, lakes, wells, or springs.

Your home or building plumbing materials, service lines, and connectors may contain lead. Water in contact with lead-containing plumbing materials may pick up lead. On June 19, 1986, Congress amended the Safe Drinking Water Act, prohibiting the use of pipes, solder or flux that were not “lead free” in public water systems or plumbing in facilities providing water for human consumption. At the time "lead free” was defined as solder and flux with no more than 0.2% lead and pipes with no more than 8% lead. On January 4, 2011, Congress amended the Safe Drinking Water Act to change the definition of “lead free” from 8% to 0.25% for pipes, pipe fittings, and components, based on a weighted average of the wetted surfaces.

The EPA has determined that lead levels may vary and therefore lead exposure is possible even when tap sampling results do not detect lead at one point in time.

Steps you can take to reduce exposure to lead in drinking water:

- Use your filter properly. Using a filter can reduce lead in drinking water. If you use a filter, it should be certified to remove lead. Read any directions provided with the filter to learn how to properly install, maintain, and use your cartridge and when to replace it. Contact us at the number above to obtain a filter or replacement cartridges.

- Run your water before use. Daily, allow the water to run at the tap for 5 minutes to flush water through the service line and plumbing in the house before using it for drinking or cooking. Taking a shower, running the dishwasher, or flushing the toilet will also flush your lines.

- Use cold water for drinking, cooking, and preparing baby formula. Do not cook with or drink water from the hot water tap as lead dissolves more easily into hot water. Do not use water from the hot water tap to make baby formula.

- Do not boil water to remove lead. Boiling water does not remove lead.

- Clean your aerator. Regularly clean your faucet’s screen (also known as an aerator). Sediment, debris, and lead particles can collect in your aerator. If lead particles are caught in the aerator, lead can get into your water.

- Identify and replace plumbing fixtures containing lead and any copper piping with lead solder.

- Check home wiring. Water service lines are sometimes used to ground electrical lines. The wiring in your home or building may be attached to your water service line or elsewhere in your plumbing. If you have a lead service line, this can accelerate its corrosion. Have a licensed electrician check your wiring.

- Get your child tested. Contact your local health department or healthcare provider to find out how you can get your child’s blood tested for lead if you are concerned about exposure.

- Test your water. Waterworks must offer to sample for lead of any person served by a lead service line, following replacement. Contact us at the number above to learn how to get your water tested.

## Information on lead, galvanized requiring replacement, and unknown service lines

We are required to provide this information to customers with lead, galvanized requiring replacement and unknown service lines.

## Opportunities to replace lead and galvanized requiring replacement service lines

The [waterworks name] is undertaking a program to replace lead and galvanized requiring replacement service lines beginning [date]. To learn more about this program, please contact [name of person, telephone number].

## Identifying unknown material service lines

The [waterworks name] is undertaking a program to identify unknown service lines by customer identification of the service line where it enters your home. To learn more about this program, please visit [website URL] or contact [name of person, telephone number].

Service Line Inventory

The [waterworks name] service line inventory is publicly available by [visiting our office][ and available online at [website URL]]. For more information contact [name of person, telephone number].

Service Line Replacement Plan

The [waterworks name] service line replacement plan is publicly available by [visiting our office][ and available online at [website URL]]. For more information contact [name of person, telephone number].

## Funding for the replacement of customer-owned lead and galvanized requiring replacement service lines

[Describe the funding opportunities for the replacement of customer-owned lead and galvanized requiring replacement service lines.] The [waterwork name] has obtained funding for lead and galvanized requiring replacement service lines through the Virginia State Revolving Loan Fund program and replacement of customer-owned service lines will be completed at no cost to the customer, if completed in [enter program date range].

## Customer replacement of lead and galvanized requiring replacement service lines

[waterworks name] is required to replace its portion of a lead or galvanized requiring replacement service line when the property owner notifies us system that they are replacing their portion of the lead or galvanized requiring replacement service line. For more information contact [name of person, telephone number].

Correcting or Updating the Service Line Inventory

If you disagree with the service line material in the service line inventory, or have additional information, you may contact [name of person, telephone number].

# Consumer Notice Template 3

# Disturbance to a Known or Potential Service Line Containing Lead

## There was a disturbance to your service line from replacement of a

## water meter, water meter setter, gooseneck, pigtail, or connector

## [Name of Waterworks]

## [Name and phone number for point of contact]

## Potential for elevated lead levels in drinking water

Following a disturbance to your service line from replacement of a water meter, water meter setter, gooseneck, pigtail, or connector on the service line, there is potential for elevated lead levels in your drinking water. Please review the following information.

## Flush your service line prior to use.

After a disturbance, the customer should flush all interior premise plumbing before using the water again.  Do not use hot water in the premise plumbing until initial flushing is completed to prevent sedimentation of lead particles in premise hot water tanks.

Instructions for customer flushing:

- Find all the faucets that will drain, including the basement and all floors in your house.

- Remove aerators and screens whenever possible, including the shower heads, from all faucets you plan to flush.

- Include the laundry tubs, hose-bibs, bathtubs, and showers as flushing points.

- After all the aerators are removed, open the faucets in the basement or lowest floor in the house. Leave all faucets running at highest rate possible, using cold water.

- After the faucets are all open in lowest floor, open the faucets on next highest floor of the house. Continue until faucets are open on all floors.

- After all faucets are opened, leave the water running for at least 30 minutes.

- After 30 minutes, turn off the first faucet you opened and continue to turn off other faucets in the same order you turned them on.

- Clean aerators/screens at each faucet. You may need to replace aerators/screens if too old or worn. To clean aerators, cover the drain in your sink to prevent any aerator parts from falling into the drain, then unscrew the aerator and separate each part.  Remove any small particles on the screen, soak the parts in white vinegar for a few minutes, and scrub the parts with a brush. After cleaning, put the aerator parts back together and screw the aerator back onto the faucet.

## Filters

We are required to provide consumers with a pitcher filter or point-of-use device certified by an American National Standards Institute (ANSI) accredited certifier to reduce lead, six months of replacement cartridges and instructions for use. Contact [name, phone number] if you need additional filters and replacement cartridges.

## Health effects of lead

There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks.

# Sources of lead

Lead is a common metal that has been in many consumer products but is now known to be harmful to human health if ingested or inhaled. It can be found in lead-based paint, air, soil, household dust, food, some types of pottery, and drinking water. Lead is rarely found in natural sources of water such as rivers, lakes, wells, or springs.

Your home or building plumbing materials, service lines, and connectors may contain lead. Water in contact with lead-containing plumbing materials may pick up lead. On June 19, 1986, Congress amended the Safe Drinking Water Act, prohibiting the use of pipes, solder or flux that were not “lead free” in public water systems or plumbing in facilities providing water for human consumption. At the time "lead free” was defined as solder and flux with no more than 0.2% lead and pipes with no more than 8% lead. On January 4, 2011, Congress amended the Safe Drinking Water Act to change the definition of “lead free” from 8% to 0.25% for pipes, pipe fittings, and components, based on a weighted average of the wetted surfaces.

The EPA has determined that lead levels may vary and therefore lead exposure is possible even when tap sampling results do not detect lead at one point in time.

## Steps you can take to reduce exposure to lead in drinking water:

- Use your filter properly. Using a filter can reduce lead in drinking water. If you use a filter, it should be certified to remove lead. Read any directions provided with the filter to learn how to properly install, maintain, and use your cartridge and when to replace it. Contact us at the number above to obtain a filter or replacement cartridges.

- Run your water before use. Daily, allow the water to run at the tap for 5 minutes to flush water through the service line and plumbing in the house before using it for drinking or cooking. Taking a shower, running the dishwasher, or flushing the toilet will also flush your lines.

- Use cold water for drinking, cooking, and preparing baby formula. Do not cook with or drink water from the hot water tap as lead dissolves more easily into hot water. Do not use water from the hot water tap to make baby formula.

- Do not boil water to remove lead. Boiling water does not remove lead.

- Clean your aerator. Regularly clean your faucet’s screen (also known as an aerator). Sediment, debris, and lead particles can collect in your aerator. If lead particles are caught in the aerator, lead can get into your water.

- Identify and replace plumbing fixtures containing lead and any copper piping with lead solder.

- Check home wiring. Water service lines are sometimes used to ground electrical lines. The wiring in your home or building may be attached to your water service line or elsewhere in your plumbing. If you have a lead service line, this can accelerate its corrosion. Have a licensed electrician check your wiring.

- Get your child tested. Contact your local health department or healthcare provider to find out how you can get your child’s blood tested for lead if you are concerned about exposure.

- Test your water. Waterworks must offer to sample for lead of any person served by a lead service line, following replacement. Contact us at the number above to learn how to get your water tested.

## Information on lead, galvanized requiring replacement, and unknown service lines

We are required to provide this information to customers with lead, galvanized requiring replacement and unknown service lines.

## Opportunities to replace lead and galvanized requiring replacement service lines

The [waterworks name] is undertaking a program to replace lead and galvanized requiring replacement service lines beginning [date]. To learn more about this program, please contact [name of person, telephone number].

## Identifying unknown material service lines

The [waterworks name] is undertaking a program to identify unknown service lines by customer identification of the service line where it enters your home. To learn more about this program, please visit [website URL] or contact [name of person, telephone number].

Service Line Inventory

The [waterworks name] service line inventory is publicly available by [visiting our office][ and available online at [website URL]]. For more information contact [name of person, telephone number].

Service Line Replacement Plan

The [waterworks name] service line replacement plan is publicly available by [visiting our office][ and available online at [website URL]]. For more information contact [name of person, telephone number].

## Funding for the replacement of customer-owned lead and galvanized requiring replacement service lines

[Describe the funding opportunities for the replacement of customer-owned lead and galvanized requiring replacement service lines.] The [waterwork name] has obtained funding for lead and galvanized requiring replacement service lines through the Virginia State Revolving Loan Fund program and replacement of customer-owned service lines will be completed at no cost to the customer, if completed in [enter program date range].

## Customer replacement of lead and galvanized requiring replacement service lines

[waterworks name] is required to replace its portion of a lead or galvanized requiring replacement service line when the property owner notifies us system that they are replacing their portion of the lead or galvanized requiring replacement service line. For more information contact [name of person, telephone number].

Correcting or Updating the Service Line Inventory

If you disagree with the service line material in the service line inventory, or have additional information, you may contact [name of person, telephone number].

- .

# Consumer Notice Template 4

# Customer Lead Service Line Replacement

## Utility notified of intent to replace customer’s portion of an LSL.

## Utility notified of completed replacement of customer’s portion of an LSL.

## We are required to provide this information.

[Name of Waterworks]

[Name and phone number for point of contact]

## Flush your service line prior to use

After a service line is replaced, the customer should flush all interior premise plumbing before using the water again.   Subsequent flushing should be done once every two weeks for three months or at other intervals based on monitoring results if available. Do not use hot water in the premise plumbing until initial flushing is completed to prevent sedimentation of lead particles in premise hot water tanks.

## Instructions for customer flushing:

- Find all the faucets that will drain, including the basement and all floors in your house.

- Remove aerators and screens whenever possible, including the shower heads, from all faucets you plan to flush.

- Include the laundry tubs, hose-bibs, bathtubs, and showers as flushing points.

- After all the aerators are removed, open the faucets in the basement or lowest floor in the house. Leave all faucets running at highest rate possible, using cold water.

- After the faucets are all open in lowest floor, open the faucets on next highest floor of the house. Continue until faucets are open on all floors.

- After all faucets are opened, leave the water running for at least 30 minutes.

- After 30 minutes, turn off the first faucet you opened and continue to turn off other faucets in the same order you turned them on.

- Clean aerators/screens at each faucet. You may need to replace aerators/screens if too old or worn. To clean aerators, cover the drain in your sink to prevent any aerator parts from falling into the drain, then unscrew the aerator and separate each part.  Remove any small particles on the screen, soak the parts in white vinegar for a few minutes, and scrub the parts with a brush. After cleaning, put the aerator parts back together and screw the aerator back onto the faucet.

## Health effects of lead

There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks.

# Sources of lead

Lead is a common metal that has been in many consumer products but is now known to be harmful to human health if ingested or inhaled. It can be found in lead-based paint, air, soil, household dust, food, some types of pottery, and drinking water. Lead is rarely found in natural sources of water such as rivers, lakes, wells, or springs.

Your home or building plumbing materials, service lines, and connectors may contain lead. Water in contact with lead-containing plumbing materials may pick up lead. On June 19, 1986, Congress amended the Safe Drinking Water Act, prohibiting the use of pipes, solder or flux that were not “lead free” in public water systems or plumbing in facilities providing water for human consumption. At the time "lead free” was defined as solder and flux with no more than 0.2% lead and pipes with no more than 8% lead. On January 4, 2011, Congress amended the Safe Drinking Water Act to change the definition of “lead free” from 8% to 0.25% for pipes, pipe fittings, and components, based on a weighted average of the wetted surfaces.

The EPA has determined that lead levels may vary and therefore lead exposure is possible even when tap sampling results do not detect lead at one point in time.

## Steps you can take to reduce exposure to lead in drinking water:

- Use your filter properly. Using a filter can reduce lead in drinking water. If you use a filter, it should be certified to remove lead. Read any directions provided with the filter to learn how to properly install, maintain, and use your cartridge and when to replace it. Contact us at the number above to obtain a filter or replacement cartridges.

- Run your water before use. Daily, allow the water to run at the tap for 5 minutes to flush water through the service line and plumbing in the house before using it for drinking or cooking. Taking a shower, running the dishwasher, or flushing the toilet will also flush your lines.

- Use cold water for drinking, cooking, and preparing baby formula. Do not cook with or drink water from the hot water tap as lead dissolves more easily into hot water. Do not use water from the hot water tap to make baby formula.

- Do not boil water to remove lead. Boiling water does not remove lead.

- Clean your aerator. Regularly clean your faucet’s screen (also known as an aerator). Sediment, debris, and lead particles can collect in your aerator. If lead particles are caught in the aerator, lead can get into your water.

- Identify and replace plumbing fixtures containing lead and any copper piping with lead solder.

- Check home wiring. Water service lines are sometimes used to ground electrical lines. The wiring in your home or building may be attached to your water service line or elsewhere in your plumbing. If you have a lead service line, this can accelerate its corrosion. Have a licensed electrician check your wiring.

- Get your child tested. Contact your local health department or healthcare provider to find out how you can get your child’s blood tested for lead if you are concerned about exposure.

- Test your water. Waterworks must offer to sample for lead of any person served by a lead service line, following replacement. Contact us at the number above to learn how to get your water tested.

## Information on lead, galvanized requiring replacement, and unknown service lines

We are required to provide this information to customers with lead, galvanized requiring replacement and unknown service lines.

## Opportunities to replace lead and galvanized requiring replacement service lines

The [waterworks name] is undertaking a program to replace lead and galvanized requiring replacement service lines beginning [date]. To learn more about this program, please contact [name of person, telephone number].

## Identifying unknown material service lines

The [waterworks name] is undertaking a program to identify unknown service lines by customer identification of the service line where it enters your home. To learn more about this program, please visit [website URL] or contact [name of person, telephone number].

Service Line Inventory

The [waterworks name] service line inventory is publicly available by [visiting our office][ and available online at [website URL]]. For more information contact [name of person, telephone number].

Service Line Replacement Plan

The [waterworks name] service line replacement plan is publicly available by [visiting our office][ and available online at [website URL]]. For more information contact [name of person, telephone number].

## Funding for the replacement of customer-owned lead and galvanized requiring replacement service lines

[Describe the funding opportunities for the replacement of customer-owned lead and galvanized requiring replacement service lines.] The [waterwork name] has obtained funding for lead and galvanized requiring replacement service lines through the Virginia State Revolving Loan Fund program and replacement of customer-owned service lines will be completed at no cost to the customer, if completed in [enter program date range].

## Customer replacement of lead and galvanized requiring replacement service lines

[waterworks name] is required to replace its portion of a lead or galvanized requiring replacement service line when the property owner notifies us system that they are replacing their portion of the lead or galvanized requiring replacement service line. For more information contact [name of person, telephone number].

Correcting or Updating the Service Line Inventory

If you disagree with the service line material in the service line inventory, or have additional information, you may contact [name of person, telephone number].

# Consumer Notice Template 5

# Planned Lead Service Line Replacement

## We plan to complete your lead service line, and we are required to provide this information.

## [Name of Waterworks]

## [Name and phone number for point of contact]

## Planned replacement date: [date]

[Use the following sections for partial service line replacement:]

## Planned Partial Lead Service Line Replacement

We plan to partially replace a lead service line (e.g., replace only the portion of a lead service line owned by the water utility) in coordination with planned infrastructure work. We will replace the lead service line from the water main to the water meter.

## Notice Required

We must provide this notice to the owner of the affected service line, or the owner's authorized agent, as well as non-owner resident(s) served by the affected service line at least 45 days prior to the replacement.

## Customer Portion of the Service Line

The customer or property owner is responsible for maintaining the portion of the service line from the water meter to the home or building (customer service line). As part of the planned infrastructure work, you may work with us to replace the customer service line at the same time as utility service line. The water utility is not required to bear the cost of replacement of the customer service line. Please contact us at the phone number above to learn more about replacing the customer service line.

[Use the following sections for Full Service Line Replacements:]

## Planned Full Lead Service Line Replacement

We plan to complete a full replacement of a lead service line (i.e., replace entire lead service). We will replace the lead service line from the water main to the home or building.

## Notice Required

We must provide this notice to the owner of the affected service line, or the owner's authorized agent, as well as non-owner resident(s) served by the affected service line at least 45 days prior to the replacement.

[Use the following sections for all notices:]

## Flush your service line prior to use

After a service line is replaced, the customer should flush all interior premise plumbing before using the water again.  We will provide instructions for flushing after the replacement is completed.

## Health effects of lead

There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks.

# Sources of lead

Lead is a common metal that has been in many consumer products but is now known to be harmful to human health if ingested or inhaled. It can be found in lead-based paint, air, soil, household dust, food, some types of pottery, and drinking water. Lead is rarely found in natural sources of water such as rivers, lakes, wells, or springs.

Your home or building plumbing materials, service lines, and connectors may contain lead. Water in contact with lead-containing plumbing materials may pick up lead. On June 19, 1986, Congress amended the Safe Drinking Water Act, prohibiting the use of pipes, solder or flux that were not “lead free” in public water systems or plumbing in facilities providing water for human consumption. At the time "lead free” was defined as solder and flux with no more than 0.2% lead and pipes with no more than 8% lead. On January 4, 2011, Congress amended the Safe Drinking Water Act to change the definition of “lead free” from 8% to 0.25% for pipes, pipe fittings, and components, based on a weighted average of the wetted surfaces.

The EPA has determined that lead levels may vary and therefore lead exposure is possible even when tap sampling results do not detect lead at one point in time.

## Steps you can take to reduce exposure to lead in drinking water:

- Use your filter properly. Using a filter can reduce lead in drinking water. If you use a filter, it should be certified to remove lead. Read any directions provided with the filter to learn how to properly install, maintain, and use your cartridge and when to replace it. Contact us at the number above to obtain a filter or replacement cartridges.

- Run your water before use. Daily, allow the water to run at the tap for 5 minutes to flush water through the service line and plumbing in the house before using it for drinking or cooking. Taking a shower, running the dishwasher, or flushing the toilet will also flush your lines.

- Use cold water for drinking, cooking, and preparing baby formula. Do not cook with or drink water from the hot water tap as lead dissolves more easily into hot water. Do not use water from the hot water tap to make baby formula.

- Do not boil water to remove lead. Boiling water does not remove lead.

- Clean your aerator. Regularly clean your faucet’s screen (also known as an aerator). Sediment, debris, and lead particles can collect in your aerator. If lead particles are caught in the aerator, lead can get into your water.

- Identify and replace plumbing fixtures containing lead and any copper piping with lead solder.

- Check home wiring. Water service lines are sometimes used to ground electrical lines. The wiring in your home or building may be attached to your water service line or elsewhere in your plumbing. If you have a lead service line, this can accelerate its corrosion. Have a licensed electrician check your wiring.

- Get your child tested. Contact your local health department or healthcare provider to find out how you can get your child’s blood tested for lead if you are concerned about exposure.

- Test your water. Waterworks must offer to sample for lead of any person served by a lead service line, following replacement. Contact us at the number above to learn how to get your water tested.