# Lead Testing Program Checklist

| # Checkbox | # Program Steps |
| --- | --- |
|  | - Enroll in program |
|  | - Create a Sampling Plan (attached) |
|  | - Complete facility walkthrough and identify outlets used for consumption |
|  | - Identify source water and how water enters facility |
|  | - Complete Plumbing Profile Questionnaire |
|  | - Create floor plan (map of facility with testing stations marked) |
|  | - Fill out Water Inventory |
|  | - Fill out Filter Inventory (if applicable) |
|  | - Photograph plumbing appurtenances |
|  | - Follow sampling protocol and mail samples to certified laboratory |
|  | - Review laboratory results |
|  | - Determine follow-up actions (if applicable) |
|  | - Determine remediation plan (if applicable) |
|  | - Evaluate annual testing plan and make revisions, if needed |

Facility Representative Name: ____________________________________

Facility Representative Signature: _________________________________

Date: ______________________

# Plumbing Profile

Note:  Complete for each School/Child Care Facility. For additional information see the USEPA publication, “The 3Ts for Reducing Lead in Drinking Water in Schools” https://www.epa.gov/ground-water-and-drinking-water/3ts-reducing-lead-drinking-water

Name of School/Child Care Facility: ____________________________________________    Grade/Age Levels: _______________

Address:

Facility Representative Name/Signature:

Date: ___________

| # Questions | # Answers |  |
| --- | --- | --- |
| Background Information |  |  |
| 1. What year was the original building constructed? Were any buildings or additions added to the original facility? If so, please complete a separate plumbing profile for each building, additions, or wings. |  |  |
| 2. If the building was constructed or repaired after 1986, was lead-free plumbing and solder utilized? What type of solder was used? Document all locations where lead solder was used. |  |  |
| 3. Where are the most recent plumbing repairs and replacements? | Location: | Description: |
| 4. With what materials is the service connection (the pipe that carries water to the School/Child Care Facility from the public water system’s main in the street) made? Where is the Service Line located? (This is the POE location.) | Material: Location: |  |
| 5. Is there point of entry (POE) or point of use (POU) treatment in use? | Y / N Type: | Location: |
| 6. Are there tanks in your plumbing system (pressure tanks, gravity storage tanks)? | Y / N |  |
| 7. Does the school have a filter maintenance and operation program? If so, who is responsible for this program? What is the process for adding filters? | Y / N |  |
| 8. Have accessible screens or aerators on outlets that provide drinking water been cleaned? Does the school have a screen or aerator maintenance program? | Y / N Y / N |  |
| 9. Have there been any complaints about bad (metallic) taste? Note location(s). | Y / N Location: |  |
| 10. Review records and consult with the public water supplier to determine whether any water samples have been taken in the building for any contaminants. If so, identify: - Name of contaminant(s) - Concentrations found - pH level Is testing done regularly at the building? | Y / N |  |
| 11. Are blueprints of the building available? Are there known plumbing “dead-ends”, low use areas, existing leaks or other “problem areas”? Are renovations planned for any of the plumbing system? | Y / N Y / N Y / N |  |
| Walk-Through These questions should be addressed during the walk-through of the facility, while Drinking Water Outlet Inventory is being completed. |  |  |
| 1. What are the potable water pipes made of in your facility? - Lead - Plastic - Galvanized Metal - Cast Iron - Copper - Other Note the water flow through the building and the areas that receive water first, and which areas receive water last. |  |  |
| 2. Are electrical wires grounded to Water Pipes? Note location(s). | Y / N Location: |  |
| 3. Are brass fittings, faucets, or valves used in your drinking water system? Note that most faucets are brass on the inside. Document the locations of any brass water outlet to be sampled. | Complete in “Brass” Column in Drinking Water Outlet Inventory sheet. |  |
| 4. Locate all drinking water outlets (i.e., water coolers, bubblers, ice machines, kitchen/ food prep sinks, etc.) in the facility. | Complete on Drinking Water Outlet Inventory sheet. |  |
| 5. Have the brands and models of the water coolers in the school been compared to the list of recalled water coolers? (See attached list) Recalled Drinking Water Fountains Make and Model | Y / N Type |  |
| 6. Have signs of corrosion, such as frequent leaks, rust-colored water, or stained fixtures, dishes, or laundry been detected? Note the locations of water outlets. | Complete in “Signs of Corrosion” column on Drinking Water Outlet Inventory. |  |
| 7. Are there any outlets that are not operational and therefore out of service? Permanently? Temporarily? Permanently Temporarily | Y / N Complete “Operational Column” on Drinking Water Outlet Inventory. | Type/ Location: Description: |

**For a Floor Plan example see Attachment A at the end of this packet**

This Plumbing Profile document was developed in part with excerpts and information from the USEPA’s 3T’s for Reducing Lead in Drinking Water in Schools and Child Care Facilities (September 2018) and Drinking Water Best Management Practices for Schools and Childcare Facilities Served by Municipal Water Systems (April 2013).

# Drinking Water Outlet Inventory

(Complete for each School/Child Care Facility addition)

Name of School/Child Care Facility:

Address:

Grade/Age Levels:  _____ Year School/Facility Constructed: ______ Renovated/Additions: ____________________________

Facility Representative Name/Signature:

Date completed: ______________

| # Type | # 1 # | # Location | # 2Code | # 3Operational # (Y/N) | # 4Signs of Corrosion # (Y/N) | # 5Filter # (Y/N) | # Brass Fittings, Faucets or valves? # (Y/N) | # Aerator # (Y/N) | # Motion Activated # (Y/N) | # Chiller # (Y/N) | # Outlet Make | # Outlet Model | # Comments # i.e. (leaks, frequency of use, complaints of metallic taste) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ex: Water Cooler | 1 | Cafeteria | WC-1-I | Y | N | Y | N | N | N | Y | Elkay | LZ8LF | Used on a daily basis |

1 Number outlets starting at the closest outlet to the Point of Entry (POE).

2 The code is a combination of Outlet type code (DW = Drinking Water Fountain, KF = Kitchen Faucet, etc.) followed by an outlet number and I for initial draw or F for flush draw. Ex: (DW-1-I for the initial sample, or DW-1-F for the flush sample). Each fixture to be sampled must be assigned a unique Location Code.

3 Document if permanently or temporarily out of service on the Plumbing Profile.

4 Signs of corrosion detected, such as but not limited to frequent leaks, rust-colored water, or stained fixtures, dishes, or laundry.

5 Document on the Filter Inventory sheet.

*Remember that only 5 samples for schools and 2 samples for Child Care Facilities are to be taken for this program*

# Filter Inventory

(Complete for each School/Child Care Facility)

Name of School/Child Care Facility:

Grade/Age Levels: ________

Address:

Facility Representative Name/Signature:

Date: ___________

| # Sample Location / Code | # Make | # Model | # Date Installed or Replaced | # Replacement Frequency | # NSF Certified for Lead Reduction # Y/N | # Capable of Removing Lead? # Y/N |
| --- | --- | --- | --- | --- | --- | --- |
| ex: Cafeteria/WC-1-I | Elkay | LZ8LF | Jan 1 2010 | 6 months | Y | Y |

# Attachment A: Floor Plan Example