## Sheet1
PFAS Initial Monitoring Evaluation Tool (For monitoring done before 4/26/2027)
Instructions: Fill in Blue Fields
freq text
PWSID: | 6000000 | [8 empty] | 4 quarterly samples collected 2 to 4 months apart. |  |  | freq logic vals
Waterworks Name: | Ankh-Morpork | [8 empty] | 2 samples collected 5 to 7 months apart. |  |  | low | high | numsmp
Waterworks population served: | 99 | [10 empty] | SW T/F | 5 | 7 | 2
Facility Sampled: | A-M WTF Entry Point | [7 empty] | B8 | Surface Water |  | FALSE
Entry Point Source Water Type | Ground Water | [7 empty] | choices | Ground Water |  | >10k
Initial Monitoring Requirement: | 2 samples collected 5 to 7 months apart. | [8 empty] | Surface and Ground Water |  | FALSE
[11 empty] | qtly or semiann? | FALSE |  |  |  | qtr |  | semiann
Your results (ng/L-ppt) | (if not detected, enter ND, or <Detection Limit, or 0) | [14 empty] | months ck | qtrck | m | m
Sample Date | PFOA | PFOS | PFNA | PFBS | PFHxS | HFPO-DA | Hazard Index* | smp fin | DtSrt | Month | Monthsrt | qtr | Months since previous sample |  |  | m bool | q bool | bool | bool
2023-01-01 | ND | 22 | 2 | 4 | 0 | <2 | 0.2 | 1 | 2025-08-25 | 8 | 1 | 1 |  |  |  |  | TRUE
2025-08-25 | 0 | 20 | 2 | <2 | 15 | <2 | 1.7 | 1 | 2023-01-01 | 1 | 8 | 3 | 7 | #VALUE! |  | TRUE | FALSE | TRUE | #VALUE!
[8 empty] | 0 | 0 |  |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[8 empty] | 0 | 0 |  |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 0 | 22 | 2 | 4 | 0 | 0 | 0.2 | [5 empty] | timing | results | bool | FALSE | FALSE
| 0 | 20 | 2 | 0 | 15 | 0 | 1.7 |  |  |  | finished init check? |  | TRUE | TRUE | TRUE |  | FALSE |  | TRUE
| 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0
mcl blown? | 0 | 1 | 0 | 0 | 1 | 0 | 1
trigger level blown? | 0 | 1 | 0 | 0 | 1 | 0 | 1
comp avg | 0 | 21 | 2 | 2 | 7.5 | 0 | 0.95
Average of your results | 0 | 21 | 2 | 2 | 7.5 | 0 | 0.95
PMCL (ng/L-ppt) | 4 | 4 | 10 | - | 10 | 10 | 1
Trigger Level (ng/L-ppt) | 2 | 2 | 5 | - | 5 | 5 | 0.5
Health Based Water Concentration (HBWC) (ng/L-ppt) | - | - | 10 | 2000 | 10 | 10 | -
*Hazard Index is a dimensionless calculated value representing the aggregate health risk presented by PFNA, PFBS, PFHxS, and HPFO-DA, based on the HBWC factors above. | [10 empty] | lang
[10 empty] | viol | You could be out of compliance starting 2029. Contact your ODW Field Office to discuss options for remediation, including treatment or replacement of the affected source.
PFAS Result Compliance Punchline | PFOA | PFOS | PFNA | PFBS | PFHxS | HFPO-DA | Hazard Index |  |  | mcl | Because you exceed a PMCL, you should contact your ODW Field Office to discuss these results.
Possible MCL Violation starting 2029? | N | Y | N | N | N | N | N |  |  | tl | Results at or above a trigger level may increase monitoring frequency once routine monitoring begins 2027.
Any Result Exceeds MCL? | N | Y | N | N | Y | N | Y |  |  | initdone | You have completed your initial monitoring. Thank you!
Any Result At or Above Trigger Level? | N | Y | N | N | Y | N | Y |  |  | initnotdone | You must complete initial monitoring.
You could be out of compliance starting 2029. Contact your ODW Field Office to discuss options for remediation, including treatment or replacement of the affected source. Because you exceed a PMCL, you should contact your ODW Field Office to discuss these results. Results at or above a trigger level may increase monitoring frequency once routine monitoring begins 2027. You have completed your initial monitoring. Thank you!
Formulas:
choices = _xlws.SORT([Waterworks Name:]:A16,1,-1)