WILDERNESS MEETING AGENDA

MARCH 21, 2025

- WBOP – Jarrett and team.

  - It was removed from the proposed CO by RSA

  - Per Tim, he sees anything on the CO as punitive.  100% does not want WBOP on CO.  Is open to completing a WBOP outside of CO. Tim said Dwayne did not mention the WBOP in the CO meeting and was upset to see it on the Proposed CO.

- PHASE II A – GAC IMPROVEMENTS (#8 on original proposed CO CAP items)

  - Rate increase approved to fund land acquisition needed for PHASE II A project

    - No timeframe yet, will pass it on to us as it moves forward. They are looking at locations near the existing WTP.

    - Tim is a big proponent of rate increases.  There have been 2 increases since Tim has been in his position in the last 7 years.

- BENCH SHEET (#1 on original proposed CO CAP items)

  - Request that RSA provide a copy of the bench sheet so that we can see changes to procedures to actively and routinely monitor raw water quality and odor.

    - David will send Jeremy an example of the bench sheet.

- COMMUNICATIONS OFFICER (#5 on original proposed CO CAP items)

  - Develop and implement a standard operating procedure to improve methods of customer notification and outreach for both emergency and non-emergency events.

  - Any progress?

    - RSA to consider hiring a communications officer, but there has been no movement towards that position.

    - Only new waterworks operator positions with budget approval

    - Billing is switching over to new system.  Will send emails to residents about high water use, etc.

    - Jarrett recommended communicating with public when RSA does something positive.   They have sent info to customers about DBP results below LRAA.

    - Working on a newsletter to customers.

- FREQUENCY OF LINE BREAKS/LEAKS – (NOT DISCUSSED DURING 3/21/2025 MEETING)

  - Is RSA tracking leaks and breaks?

  - When is too much?

  - Line replacement strategy.

- NEW MEMBRANE TREATMENT SYSTEM

  - Is it being used?  Not in February MOR.

    - Leak in CIP tank corrected in February.  Leak took a while to repair.

    - Membranes will be used in upcoming months.

    - Will start with separate reports and then combine with MOR in future.