WILDERNESS MEETING AGENDA

May 9, 2025

(Meeting Updates in Bold)

- Land Acquisition status:

  - Signed contract with firm to begin land acquisition.

  - Waiting on proposal for revision of PER. Next Friday it may be completed.

    - Update 5/9/2025 - Revision proposal is still in process. Trying to get a meeting scheduled with landowners.  PER update approved by council.  There is a backup land purchase if needed.

  - Set a framework of design with PER and PER will be expanded and updated as needed when land is acquired.

  - PAC on front end and GAC on rear end of treatment line.

- Line break/leak frequency:

  - Update 5/9/2025 - Recent valve break incident.

    - Recent BWA incident – Cause was due to all but one bolt in valve had deteriorated.  Valve was installed during early 2000’s (<25 years old). Mueller valve may have been defective? Bolts bad? Pursuing info from Mueller Company.  May have to replace all bolts from that project from the early 2000’s.

  - Track outages and location of leaks, breaks?

    - Asset management will be able to track that information.  Plan in process.

    - Old AC pipe and service line saddles rot in place typically.

    - Are there enough valves in system to minimize impacted areas?

      - David, yes there are plenty of valves, but some don’t close all the way which is an issue.  Asset MP will help with that issue.

      - Valves have been identified in GIS required by Asset MP, next step is to inspect valves.

      - Installed new 12” line 3/4s of way around Lake of the Woods.  Replaced a 6” line.

      - Asset management system will help RSA become informed regarding lines with excessive leakage.

- Consent Order:

  - Update 5/9/2025 - RECEIVED RSA CO COMMENTS ON CO 5-9-2025.

    - ODW has agreed to just request quarterly consent order updates which will end the monthly meetings.

ODW will finish their CO review by next week and get back with RSA with any comments.

  - Waiting on an update after Grant K. spoke with RSA attorney 2-weeks ago.

  - David has not heard anything after the meeting either.

  - Grant was on vacation, and we will get an update on the status

- Miscellaneous:

  - Bench Sheet – did not discuss in April. Update 5/9/2025 Received by JH

  - Town of Madison work will apply for FCAP and planning and design funds for Madison and RT 15.  Wilderness planning and design over the population limit? Sarah to look into that and get back with David. Sarah will reach out to RSA with funding assistance.

Update 5/9/205 - Sarah discussed funding assistance in April with RSA.

RSA requested funding for planning for engineering  land acquisition for Phase 2.  EPA needs to get back with ODW by approximately September 2025 with awarded funding.

  - MORs with Membrane

    - Not operating membrane plant yet per David Jarrell

      - Working on SOPs and training staff –

Update 5/9/2025 -  RSA has run the membrane filter plant for 6 days last month and 6 days in May so far.  Everything is running fine.

  - CIP – Jeremy requested a copy of the CIP – Update 5/9/2025 -Tim asked for ODW to clarified the request and Jeremy said that we would like it specific to Wilderness.  Tim states it is a living document and priorities can change.  He agreed to provide it to ODW.

  - WBOP - RSA has not discussed it since last meeting. Update 5/9/2025 - No update on whether RSA will provide a WBOP.