Assisted Blood Glucose Monitoring Competency Validation/Audit Tool

Employee Name:

Job Title:

- Orientation

- Annual

- Other

| Performing Assisted Blood Glucose Monitoring | Type of Validation D=Demonstrate V=Verbalize | Meets Criteria (Y or N) | Comments/ Recommendations | Recommendations Implemented (Date & Initials) |
| --- | --- | --- | --- | --- |
| - Stores, maintains, and uses all equipment (e.g., blood glucose meter, test strips, controls) as instructed by the manufacturer | D |  |  |  |
| - Verifies expiration dates of test strips and controls | D |  |  |  |
| - Performs quality controls | D |  |  |  |
| - Performs appropriate hand hygiene before performing assisted blood glucose monitoring blood test | D |  |  |  |
| - Checks patient/resident identification and test orders (if applicable) according to the facility policy | D |  |  |  |
| - Puts on gloves before performing the assisted blood glucose monitoring blood test | D |  |  |  |
| - Selects a punctures site using site rotation principles. | D |  |  |  |
| - Cleans patient/resident's skin with alcohol swab, allows to air dry, and does not touch sampling area | D |  |  |  |
| - Uses a new, single-use safety lancet for one patient/resident only (a penlet/reusable fingerstick device is not acceptable unless it is used by persons performing self-monitoring, dedicated to that one patient/resident, clearly labeled, and stored to prevent use on another patient/resident) | D |  |  |  |
| - Uses the safety lancet to prick the selected puncture site and places the blood droplet on the testing strip | D |  |  |  |
| - Applies pressure on the puncture site with gauze to ensure bleeding has stopped (does not wipe the site with an alcohol swab) | D |  |  |  |
| - Disposes used safety lancet in a sharps container | D |  |  |  |
| - Removes and discards gloves and performs appropriate hand hygiene | D |  |  |  |
| - Puts on new gloves to clean and disinfect blood glucose meter with compatible products | D |  |  |  |
| - Cleans any surfaces that could possibly have been contaminated | D |  |  |  |
| - Removes and discards gloves and performs appropriate hand hygiene | D |  |  |  |
| - Stores disinfected blood glucose meter in a clean area, away from contamination - Dedicated blood glucose meters are ideally stored in the patient/resident’s room to prevent use on other patients/residents | D |  |  |  |
| - Records and takes appropriate action for blood glucose results, according to facility policy. | V |  |  |  |

| General Discussion | Type of Validation D=Demonstrate V=Verbalize | Meets Criteria (Y or N) | Comments/ Recommendations | Recommendations Implemented (Date & Initials) |
| --- | --- | --- | --- | --- |
| - Employee verbalizes how to apply standard precautions during assisted blood glucose monitoring to prevent the spread of bloodborne pathogens. - Hand hygiene - Cleaning and disinfection of blood glucose meter and the environment - Personal protective equipment | V |  |  |  |
| - Employee verbalizes how proper cleaning and disinfection of shared equipment helps prevent the spread of bloodborne pathogens. - Disinfectant instructions, including contact time/wet time - Blood glucose meter cleaning instructions | V |  |  |  |

Employee Initials		Validator Initials		Date		Employee Initials		Validator Initials		Date

Employee Initials		Validator Initials		Date		Employee Initials		Validator Initials		Date