## Slide 1: Interpreting Covid-19 Antigen Test Results
Shaina Bernard, PharmD

## Slide 2: Overview
Infectious disease diagnostics are complex, and the following factors should be taken into consideration:
Clinical and epidemiological context of the person who has been tested
  Why was the test performed?
Performance characteristics of the test (e.g. sensitivity, specificity)
  What test was performed?
Prevalence of COVID-19 in that particular community
  What is the positivity rate over the previous 7–10 days?

## Slide 3: Why was the test performed?
Surveillance
Purpose: To monitor for a community- or population-level infection and disease, or to characterize the incidence and prevalence of disease
Randomly select and sample a percentage of all persons in a city on a rolling basis to assess local infection rates and trends.
Performed on de-identified specimens, and thus results are not linked to individuals.
Screening Testing
Purpose: To identify persons who may be contagious so that measures can be taken to prevent further transmission
Testing in congregate settings, such as a long-term care facility or a correctional facility, a workplace testing its employees, or a school testing its students, faculty, and staff
Diagnostic Testing
Purpose: To identify current infection in individuals
Person has signs or symptoms consistent with COVID-19
Person is asymptomatic but has recent known or suspected exposure to SARS-CoV-2

## Slide 4: What type of test was performed?
Viral Diagnostic Tests
Molecular
Antigen
Detects SARS-CoV-2 RNA
Detects SARS-CoV-2 antigens
More information on specific test performance (sensitivity, specificity) can be found on FDA website
High sensitivity and specificity
Moderate sensitivity, high specificity
Turn around time ranges from 15 minutes to > 2 days
Turn around time approximately 15 minutes
Moderate cost
Low cost

## Slide 5: Interpreting Antigen Test Results
Clinical Context | Antigen Test Positive
Symptomatic OR Asymptomatic Close Contact | Indicates current infection; false positives can occur, especially in low prevalence populations Patient should self-isolate and close contacts should self-quarantine until no longer infectious If admitted to a healthcare facility, use transmission-based precautions Follow situation-specific patient management (e.g., delay major surgeries, if possible, symptom management)

## Slide 6: Interpreting Antigen Test Results
Clinical Context | Antigen Test Negative
Symptomatic | Indicates no antigens were detected; however, amount of antigen in a sample decreases as duration of illness increases, particularly 5 days after onset of illness. Repeat testing with a molecular test, especially in situations where an alternative diagnosis has not been identified, should be performed. If molecular testing is not available, clinical discretion can be used in whether to recommend the patient isolate. Recommend self-isolation based on exposure and symptoms Advise patient to follow protective measures in place in the community
Asymptomatic Close Contact | Indicates no antigens were detected Negative test does not rule out the potential for future infection Patient should remain in quarantine for 14 days after the last date of exposure until indicated False negatives can occur; consider repeat testing with a molecular test, if necessary for patient management

## Slide 7: Resources
CDC
Interim Guidance for Rapid Antigen Testing
VDH
COVID-19 Testing