HAMPTON/PENINSULA HEALTH DISTRICT

# VIRGINIA DEPARTMENT OF HEALTH

# FOOD ESTABLISHMENT PLAN REVIEW PACKET

| Hampton Health Department | Newport News Health Department | Williamsburg Health Department |
| --- | --- | --- |
| Environmental Health | Environmental Health | Environmental Health |
| 1320 LaSalle Ave | 416 J Clyde Morris Blvd | 4095 Ironbound Rd |
| Hampton, VA 23669 | Newport News, VA 23601 | Williamsburg, VA 23188 |
| Phone: 757-727-2570 | Phone: 757-594-7340 | Phone: 757-253-4813 |

# To Avoid Unnecessary Delays

# Follow These Procedural Steps for Opening a Food Establishment

- Submit this packet and required documents with a fee ($40.00) to the Health Department before construction, conversion, or remodeling.  Plans are to include:

  - FLOOR PLAN (to include all equipment, plumbing fixtures, restrooms, seating, walk-ins, etc.);

  - EQUIPMENT LIST (including make, model, and sizes (refrigerators, stoves, freezers, etc.) ;

  - PLUMBING DIAGRAM; (location of all handsinks, utility sinks and 3 compartment sinks);

  - FINISH SCHEDULE (floors, walls and ceilings);

  - MENU.

- Plans should be drawn by a professional engineer or architect as opposed to hand drawn sketches, but clear plans drawn to scale are acceptable. Plans will be reviewed by an Environmental Health Specialist and an approval letter will be sent to the applicant or owner, whichever is preferred. Any alteration of original plans must be discussed with the appropriate Environmental Health Specialist.

- Submit a Health Department Permit application with the fee ($40.00) to the local environmental health department, 30 days prior to opening.

- Health Department permit will not be issued until proof of Certificate of Occupancy and Use is issued by the local building official. For complete information on the prerequisites for issuance of construction permits and certificates, please consult with the local building official’s office: In Hampton (757) 727-8311; Newport News (757) 933-2311; York County, (757) 890-3522; City of Poquoson, (757) 868-3035; James City County, (757) 253-6620; City of Williamsburg (757) 220-6136.

- When no building modifications are to be made (i.e. a building permit is not required), an appropriate Certificate of Occupancy and Use for the existing building must be verified with the local building official’s office.

- Once a Certificate of Occupancy and Use is verified or issuance is pending you should contact the

appropriate Health Department office  - the Hampton Health Department, Newport News Health Department or the Williamsburg Health Department, for a final inspection and issuance of a Health Permit (For Hampton a Certified Food Manager must be registered with their office or proof of enrollment in a class before any permit is issued).

- Contact the Environmental Health Specialist two (2) weeks prior to opening to schedule a pre-opening inspection. If the establishment is in compliance with the Board of Health Food Regulations a Health Permit will be issued. A preliminary walk thru can be requested any time prior to pre-opening inspection.

- With the Health Permit and Certificate of Occupancy you can then obtain a Business License from the Commissioner of Revenue.

Restaurant Inspections and 2016 Virginia Food Regulation can be accessed at the following websites;

http://healthspace.com/Clients/VDH/VDH/web.nsf/home.xsp

http://www.vdh.virginia.gov/EnvironmentalHealth/Food/Regulations/index.htm

(KEEP THIS SHEET FOR YOUR RECORDS)

# PLEASE COMPLETE AND RETURN:

PLANS REVIEW CHECKLIST FOR FOOD SERVICE ESTABLISHMENTS

The purpose for the review and approval of plans before the work begins is:  (1) to ensure compliance with sanitary requirements; (2) to prevent misunderstanding by the operator as to what is required; (3) to prevent errors which might later result in additional cost to the operator.

As a minimum, the owner should provide a floor plan of the entire establishment to scale which shows the layout of the rooms, including storage rooms, electrical, plumbing, and mechanical installations and all fixed equipment.  In addition, the proposed location of kitchen equipment such as refrigerators, stoves, hoods, sinks, dishwashing machines, slicers, etc. should be shown.

The following plan review check list is suggested as a guide to be used to assure that all areas of the physical facilities and equipment to be installed in the establishment are given proper consideration for compliance with the Virginia Food Regulations, 12 VAC 5-421.

Name of Establishment _______________________________ 	Phone _____________________

# Address ____________________________________________	Fax   ______________________

# Contact person & email address  ______________________________________________________

Legal Owner____________________________ Address __________________________________

Phone __________________ Fax   ____________________ Email___________________________

Architect _______________________________ Address  _________________________________

Phone __________________ Fax   ____________________ Email___________________________

Plans and Information Submitted By:  ____________________________  Date   ________________

# Where should we send the approval letter?  __________________________________________

Type of Menu______________  Seating Capacity ___________	New or Remodel _____________

Is information complete?  (Check items submitted)

_________	Floor Plan		_____________	Mechanical Layout

_________	Equipment List		_____________	Finish Schedule

_________	Plumbing Diagram	_____________            Menu

_________       Electrical

# Has the above information been reviewed or submitted to any of the following?

__________	Fire Safety		_____________	Building Dept.

__________	Plumbing		_____________	Other (Specify)

__________	Electrical		________________________________

# What type of water supply is to be provided?  Public ______ Private ________

If private, has it been approved by the Health Department?

______ Yes 	No __________	Date ________________________

# What type of sewage system is to be provided?  Public _____Private ________

If private, has it been approved by the Health Department?

______Yes      No   ___________	Date ___________________________

The following questions are to enable both the food service establishment owner and the Health Department to ascertain the acceptability of the physical plant.

# Circle answer and fill in blanks where needed.

I.	Floors

Yes   No	1.	Are floor materials smooth, easily cleanable, and non-absorbent in the

kitchen and the restrooms?

Yes   No	2.          If drains are provided, are floors graded to the drain?

Yes   No	3.	Is the floor-wall juncture coved?

4.	List floor materials used in the following areas:

Kitchen __________________		Restrooms ______________

Dining ___________________	Storage ________________

Service ___________________

II	Walls and Ceilings

Yes   No	1.	Are wall and ceilings smooth, easily cleanable, and non-absorbent in the

kitchen and in the restrooms?

Yes   No	2.	Are walls and ceilings constructed so that no beams, utility lines or piping are

exposed?

3.	List wall materials used in the following areas:

Kitchen__________________		Restrooms ______________

Dining ___________________	Storage ________________

Service___________________

4.	List ceiling materials in the following areas:

Kitchen _________________   	Restrooms ______________

Dining __________________		Storage_________________

Service__________________

III	Toilet Facilities

Yes   No	1.	Are toilet rooms conveniently located?

Yes   No	2.	Are toilet room doors self-closing?

Yes   No	3.	Are public toilets provided and in accordance with the Virginia Uniform

Statewide Building Code (VA USBC)?

Yes   No	4.	Are handicapped toilets provided?

Yes   No	5.	Are hand basins provided in each restroom?

Yes   No	6.	Are adequate lockers or storage areas provided for employees’ personal

belongings (coats, sweaters, pocket books, etc.) and are they located outside

the food service, storage and preparation areas?

IV	Handwashing Facilities

Yes   No	1.	Are hand sinks provided in all food preparation areas?

Yes   No	2.	Are hand sinks provided in the dishwashing area?

Yes   No	3.	Are hand sinks provided in serving and busing areas?

Yes   No	4.	Does each basin have hot and cold tempered running water through mixing

faucets, and adequate soap and paper towels or approved hand-drying devices?

V	Plumbing

Yes   No	1.	Are backflow / back siphonage devices installed as required by Plumbing

Code?

Yes   No	2.	Are indirect waste lines used where needed?

Yes   No	3.	Is all plumbing installed in accordance with the Plumbing Code?

Yes   No	4.	Are there any exposed sewer lines over food preparation or storage areas?

Yes   No	5.	If a grease trap is used, is it located properly?

Yes   No           6.         Is there sufficient hot water to meet the demand?

Yes   No           7.         Is there a mop sink?

No Y connector with integral shutoffs can be installed to a faucet that has an integral atmospheric vacuum breaker. Provide an approved dedicated water supply line at the mop/service sink to supply water when chemical dispensers are utilized or if connecting to a faucet which has an atmospheric vacuum breaker, a side kick must be installed.

VI	Lighting

Yes   No	1.	At least 10 foot candles at a distance of 30 inches (75cm) above the floor, in

walk-in refrigeration units and dry food storage areas and in other areas and	rooms during periods of cleaning?

Yes   No	2.	At least 20 foot candles:

- At a surface where food is provided for consumer self-service such as buffets    and salad bars or where fresh produce or packaged foods are sold or offered for consumption.

- Inside equipment such as reach-in and under-counter refrigerators;

- At a distance of 30 inches (75 cm) above the floor in areas used for handwashing, warewashing, and equipment and utensil storage, and in toilet rooms.

Yes    No	3.	At least 50 foot candles at surface where a food employee is working with

food or working with utensils or equipment such as knives, slicers, grinders,

or saws where employee safety is a factor.

Yes     No	4.	Are light shields provided in all areas where food is exposed?

VII	Ventilation

Yes   No	1.	Does the hood system conform to the VA USBC?

Yes   No	2.	Is mechanical ventilation provided in restrooms?

Yes   No        	3.          Is mechanical ventilation provided in other areas where needed to keep

rooms free of steam, vapors, odors, smoke, and fumes?

VIII	Garbage and Refuse

Yes   No	1.	Is a refuse storage room provided?

Yes   No	2.	Is an outdoor storage area provided?

Yes   No	3.	Is the outdoor storage area easily cleanable? Is dumpster/garbage container

located on a smooth, impervious surface?

Yes   No	4.	Is a container washing facility provided?

Yes   No	5.	If a waste facility is provided with a drain, are wastes properly disposed?

(Dumpster and facility waste water are disposed according to state and local

plumbing codes.) 12 VAC 5-421-2580

IX.        Insect and Rodent Control

Yes   No	1.	Are outer openings properly protected by use of doors, screens, or fans?

Yes   No	2.	Are outer doors self-closing?

Yes   No	3.	Are floors, walls and ceilings properly finished around ducts, pipes, and

cables?

Yes   No           4.         Is outdoor food service planned and if so, is all food preparation in

accordance with the requirements? (No outside food preparation is permitted

unless in accordance with  PIM #04-02.)

X.         Storage Areas

Yes   No	1.	Is shelving constructed so that all underlying areas can be reached with

brooms and mops?  (6 inches above floor)

Yes   No	2.	Are separate areas provided for storage of poisonous and cleaning materials and

are they stored separate from food & food equipment?

Yes   No	3.	Are there ample areas for refrigerated and dry storage of food supplies and all

paper goods, dishes, etc.?

XI.       Equipment

Yes   No	1.	Has a list of all equipment with manufacturer’s name & model number been

submitted?

Yes   No	2.	Is all equipment constructed of approved material or equivalent?

Yes   No	3.	How will floor or wall mounted equipment be installed?  (On 6 inch legs,

sealed, spaced, or a combination) Specify sealing materials

______________________________

Yes  No	4.	How will counter top equipment be mounted?  (On 4 inch legs or sealed to

the counter unless readily movable.)

5.         What method of dishwashing is used? (Manual or mechanical or both)

Yes   No	6.	Is a 3 vat sink provided? Are drainboards / racks provided?

Yes   No	7.	If using mechanical equipment, list below the manufacturer’s name and

Model number for the following equipment: Dish Machine

_______________________ Booster____________

Yes    No         8.          Are there adequate cold (41°) and hot (135°) holding facilities?

XII.      Smoking

Yes   No	1.  	Are signs clearly and conspicuously posted where smoking is prohibited?

Yes   No           2.          Is establishment a smoke -free environment? (If yes, do not answer

questions # 3-7.)

Yes   No	3.	Have provisions been made to comply with the Virginia Indoor Clean Air Act?

Yes   No           4.         Is there a designated no-smoking area with appropriate signage?

Yes   No           5.         Is the smoking area structurally separated with ingress and egress through a

door?

Yes   No           6.         Is the smoking area separately vented to prevent the recirculation of air to						the area where smoking is prohibited?

Yes   No           7.         Is there at least one public entrance into the restaurant where smoking is 						prohibited?

# Date Plans Received  ___________________________ By______________________

# Date Plans Reviewed  ___________________________ By______________________